## CLPU
| Gas Day |  | Opening Linepack
| 2019-01-17 |  | 362.37
Run Time
| 5:00 | 12:00 |  | 18:00
Calculated Linepack minimum (MCM)
| 355 | 351.3
| 22:00 | 21:00
This report collates the hourly supply and demand flow notifications received from NTS connected sites to calculate the NTS linepack minimum value in MCM that would result from these flow profiles. Please note, connected parties update their notifications continually throughout the day; therefore, the report is accurate only at the point of publication. The report is published three times throughout the day (06:00, 12:30 and 18:30) and will reflect latest Linepack and revised supply and demand flow notifications received.

## Archive_Log
Run Time
|  | 5:00 |  | 12:00 |  | 18:00
Gas Day | Opening LinePack | Calc. LP | Ap. Hour | Calc. LP | Ap. Hour | Calc. LP | Ap. Hour
2017-10-02 | 337.7 | 318 | 23:00 | 322 | 22:00 | 327 | 22:00
2017-10-03 | 337.2 | 326 | 20:00 | 325 | 21:00 | 319 | 21:00
2017-10-04 | 337.3 | 330 | 22:00 | 322 | 21:00 | 323 | 21:00
2017-10-05 | 338.5 | 7968:00 | 22:00 | 7992:00 | 22:00 | 334 | 19:00
2017-10-06 | 342.7 | 342.7 | 5:00 | 339 | 20:00 | 331 | 21:00
2017-10-07 | 339.3 | 334.8 | 21:00 | 334.8 | 21:00 | 327 | 22:00
2017-10-08 | 339.4 | N/A | N/A | 328 | 12:00 | 329 | 21:00
2017-10-09 | 339.3 | 326 | 22:00 | 329 | 22:00 | 329 | 22:00
2017-10-10 | 340 | 340 | 5:00 | 340 | 5:00 | 340 | 5:00
2017-10-11 | 340 | 340 | 5:00 | 336 | 20:00 | 334 | 21:00
2017-10-12 | 339.4 | 339.4 | 5:00 | 338 | 12:00 | 330 | 22:00
2017-10-13 | 336.5 | 320 | 22:00 | 321 | 22:00 | 321 | 22:00
2017-10-14 | 335.8 | 322 | 22:00 | 317 | 22:00 | 322 | 20:00
2017-10-15 | 338.8 | 335 | 22:00 | 333 | 22:00 | 335 | 22:00
2017-10-16 | 344.5 | 336 | 22:00 | 340 | 19:00 | 334 | 20:00
2017-10-17 | 345.5 | 345 | 22:00 | 344 | 22:00 | 337 | 23:00
2017-10-18 | 343.3 | 343.3 | 5:00 | 333 | 22:00 | 334 | 22:00
2017-10-19 | 344.4 | 341 | 19:00 | 342 | 19:00 | 340 | 21:00
2017-10-20 | 344.7 | 323 | 22:00 | 328 | 21:00 | 329 | 20:00
2017-10-21 | 345.5 | 345.5 | 5:00 | 329 | 22:00 | 339 | 21:00
2017-10-22 | 348.5 | 336 | 22:00 | 347 | 22:00 | 341 | 22:00
2017-10-23 | 348.7 | 343 | 21:00 | 331 | 22:00 | 330 | 21:00
2017-10-24 | 348.5 | 324 | 22:00 | 331 | 22:00 | 333 | 21:00
2017-10-25 | 345.5 | 329 | 22:00 | 338 | 22:00 | 339 | 22:00
2017-10-26 | 345.5 | 347 | 21:00 | 337 | 22:00 | 337 | 22:00
2017-10-27 | 347.5 | 339.2 | 21:00 | 347 | 21:00 | 347.3 | 20:00
2017-10-28 | 346.8 | 332.4 | 20:00 | 328 | 22:00 | 328 | 22:00
2017-10-29 | 348.2 | 333 | 22:00 | 337 | 22:00 | 337 | 22:00
2017-10-30 | 352.6 | 345 | 21:00 | 352.6 | 12:00 | 337 | 22:00
2017-10-31 | 352.2 | 342 | 21:00 | 343 | 21:00 | 337 | 21:00
2017-11-01 | 352.4 | 352.4 | 5:00 | 352.4 | 5:00 | 352.4 | 5:00
2017-11-02 | 354.6 | 348 | 21:00 | 340 | 22:00 | 346 | 21:00
2017-11-03 | 354.5 | 350 | 20:00 | 347 | 20:00 | 343 | 22:00
2017-11-04 | 353.2 | 353.2 | 5:00 | 353.2 | 5:00 | 353.2 | 5:00
2017-11-05 | 360.9 | 360.9 | 5:00 | 353 | 22:00 | 352 | 22:00
2017-11-06 | 352.2 | 352 | 20:00 | 334 | 21:00 | 334 | 21:00
2017-11-07 | 347 | 341 | 21:00 | 338 | 21:00 | 335 | 21:00
2017-11-08 | 349.5 | 349.5 | 5:00 | 334 | 20:00 | 331 | 20:00
2017-11-09 | 346.3 | 337 | 21:00 | 337 | 21:00 | 336 | 21:00
2017-11-10 | 349 | 347 | 20:00 | N/A | N/A | 347 | 20:00
2017-11-11 | 350.6 | N/A | N/A | 334 | 21:00 | 334 | 21:00
2017-11-12 | 351.1 | 347 | 22:00 | 335 | 22:00 | 341 | 21:00
2017-11-13 | 350.2 | 343 | 20:00 | 328 | 21:00 | 329 | 21:00
2017-11-14 | 353.5 | 338 | 20:00 | 338 | 20:00 | 340 | 21:00
2017-11-15 | 355.7 | 354 | 19:00 | 347 | 20:00 | 347 | 20:00
2017-11-16 | 352 | 352 | 5:00 | 352 | 5:00 | 350 | 21:00
2017-11-17 | 352.2 | 337 | 21:00 | 341 | 20:00 | 351 | 20:00
2017-11-18 | 349.7 | 347.5 | 20:00 | 347.5 | 20:00 | 342 | 21:00
2017-11-19 | 352.3 | 338 | 21:00 | 336 | 21:00 | 338 | 21:00
2017-11-20 | 352.4 | 336 | 21:00 | 337 | 21:00 | 319 | 22:00
2017-11-21 | 354.9 | N/A | N/A | 347 | 20:00 | 346 | 20:00
2017-11-22 | 354.2 | 339 | 21:00 | N/A | N/A | 339 | 21:00
2017-11-23 | 353.6 | 351 | 21:00 | 347 | 21:00 | 340 | 21:00
2017-11-24 | 351.3 | 351.3 | 5:00 | N/A | N/A | 336 | 21:00
2017-11-25 | 350.7 | 349 | 20:00 | 347 | 21:00 | 338 | 22:00
2017-11-26 | 353.4 | 348 | 20:00 | 341 | 21:00 | 340 | 21:00
2017-11-27 | 352.7 | 352.7 | 5:00
2017-11-27 | 352.7 | 352.7 | 5:00 | 347.13 | 20:00
2017-11-27 | 352.7 | 352.7 | 5:00 | 347.13 | 20:00 | 339.9 | 22:00
2017-11-28 | 352.3 | 336.3 | 21:00
2017-11-28 | 352.3 | 336.3 | 21:00 | 332.06 | 21:00
2017-11-28 | 352.3 | 336.3 | 21:00 | 332.06 | 21:00 | 330.9 | 21:00
2017-11-29 | 356.6 | 345 | 21:00
2017-11-29 | 356.6 | 345 | 21:00 | 349 | 21:00
2017-11-29 | 356.6 | 345 | 21:00 | 349 | 21:00 | 343.4 | 21:00
2017-11-30 | 358.86 | 350.6 | 21:00
2017-11-30 | 358.86 | 350.6 | 21:00 | 344.8 | 20:00
2017-11-30 | 358.86 | 350.6 | 21:00 | 344.8 | 20:00 | 336.17 | 21:00
2017-12-01 | 358.02 | 325.5 | 22:00
2017-12-01 | 358.02 | 325.5 | 22:00
2017-12-01 | 358.02 | 325.5 | 22:00 | 323.6 | 21:00
2017-12-01 | 358.02 | 325.5 | 22:00 | 323.6 | 21:00 | 337 | 20:00
2017-12-02 | 358.29 | 347 | 21:00
2017-12-02 | 358.29 | 347 | 21:00 | 348 | 21:00
2017-12-02 | 358.29 | 347 | 21:00 | 348 | 21:00 | 348.7 | 21:00
2017-12-03 | 362.73 | 362.73 | 5:00
2017-12-03 | 362.73 | 362.73 | 5:00 | 366.08 | 5:00
2017-12-03 | 362.73 | 362.73 | 5:00 | 366.08 | 5:00 | 400.37 | 5:00
2017-12-04 | 358.7 | 357.48 | 20:00
2017-12-04 | 358.7 | 357.5 | 20:00 | 343 | 21:00
2017-12-04 | 358.7 | 357.5 | 20:00 | 343 | 21:00 | 356.6 | 20:00
2017-12-05 | 358.7 | 357.5 | 20:00 | 343 | 21:00 | 356.6 | 20:00
2017-12-05 | 359.2 | 341.9 | 21:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00 | 341.9 | 22:00
2017-12-05 | 359.2 | 341.9 | 21:00 | 348.9 | 22:00 | 341.9 | 22:00
2017-12-06 | 356.4 | 352.4 | 21:00
2017-12-06 | 356.4 | 352.4 | 21:00 | 343.9 | 22:00
2017-12-06 | 356.4 | 352.4 | 21:00 | 350.8 | 22:00 | 343.9 | 22:00
2017-12-07 | 358.6 | 344.31 | 22:00
2017-12-07 | 358.6 | 344.31 | 22:00 | 344.24 | 21:00
2017-12-07 | 358.6 | 344.31 | 22:00 | 344.24 | 21:00 | 342.1 | 23:00
2017-12-08 | 360.82 | 341.71 | 21:00
2017-12-08 | 360.82 | 341.71 | 21:00 | 345 | 20:00 | 359.05 | 20:00
2017-12-08 | 360.82 | 341.71 | 21:00 | 342.24 | 21:00 | 359.05 | 20:00
2017-12-09 | 359.63 | 342.9 | 21:00
2017-12-09 | 359.63 | 342.9 | 21:00 | 338.6 | 22:00
2017-12-09 | 359.63 | 342.9 | 21:00 | 338.6 | 22:00 | 349.9 | 20:00
2017-12-10 | 359.82 | 329.02 | 21:00
2017-12-10 | 359.82 | 329.02 | 21:00 | 342.1 | 21:00
2017-12-10 | 359.82 | 329.02 | 21:00 | 342.1 | 21:00 | 342 | 21:00
2017-12-11 | 361.5 | 297.5 | 23:00
2017-12-11 | 361.5 | 297.5 | 23:00 | 327.6 | 22:00
2017-12-11 | 361.5 | 297.5 | 23:00 | 327.6 | 22:00 | 331.9 | 21:00
2017-12-12 | 361.5 | 347.4 | 21:00
2017-12-12 | 361.5 | 347.4 | 21:00 | 340 | 21:00
2017-12-12 | 361.5 | 347.4 | 21:00 | 340 | 21:00 | 332 | 21:00
2017-12-13 | 350.61 | 306.5 | 22:00
2017-12-13 | 350.61 | 306.5 | 22:00 | 320.7 | 22:00
2017-12-13 | 350.61 | 306.5 | 22:00 | 320.7 | 22:00 | 318.4 | 22:00
2017-12-14 | 360.35 | 356.9 | 20:00
2017-12-14 | 360.35 | 356.9 | 20:00 | 341.5 | 21:00
2017-12-14 | 360.35 | 356.9 | 20:00 | 341.5 | 21:00 | 342.49 | 21:00
2017-12-15 | 360.54 | 341 | 20:00
2017-12-15 | 360.54 | 341 | 20:00 | 345 | 21:00 | 345 | 21:00
2017-12-16 | 359.36 | 326.51 | 21:00
2017-12-17 | 358 | 349.76 | 21:00
2017-12-18 | 356.17 | 307.2 | 22:00
2017-12-18 | 356.17 | 307.2 | 22:00 | 323.3 | 21:00
2017-12-19 | 351.9 | 341 | 21:00
2017-12-19 | 351.9 | 341 | 21:00 | 342 | 20:00
2017-12-20 | 354.6 | 332.2 | 22:00
2017-12-20 | 354.6 | 332.2 | 22:00 | 332.17 | 22:00
2017-12-20 | 354.6 | 332.2 | 22:00 | 332.17 | 22:00 | 340.6 | 19:00
2017-12-21 | 354.6 | 347.6 | 21:00
2017-12-21 | 354.6 | 347.6 | 21:00 | 351.15 | 20:00
2017-12-21 | 357.2 | 347.6 | 21:00 | 351.15 | 20:00 | 347.8 | 20:00
2017-12-22 | 359.4 | 347 | 21:00
2017-12-22 | 359.4 | 347 | 21:00 | 346.9 | 20:00
2017-12-22 | 359.4 | 347 | 21:00 | 346.9 | 20:00 | 346.9 | 20:00
2017-12-23 | 360.7 |  |  |  |  | 343.6 | 22:00
2017-12-24 | 358.1 | 354.13 | 21:00
2017-12-24 | 358.1 | 354.13 | 21:00 | 349.1 | 22:00
2017-12-24 | 358.1 | 354.13 | 21:00 | 349.1 | 22:00 | 346.4 | 21:00
2017-12-25 | 359.93 | 343.23 | 22:00
2017-12-25 | 359.93 | 343.23 | 22:00 |  |  | 351.2 | 20:00
2017-12-26 | 362.75 | 326.8 | 22:00
2017-12-26 | 362.75 | 326.8 | 22:00 |  |  | 342 | 20:00
2017-12-27 | 360.73 | 335.03 | 21:00
2017-12-27 | 360.73 | 335.03 | 21:00 | 341.65 | 21:00
2017-12-28 | 357 | 335 | 21:00
2017-12-28 | 357 | 335 | 21:00 | 333.3 | 22:00
2017-12-29 | 357.3 | 352.8 | 22:00
2017-12-29 | 357.3 | 352.8 | 22:00 | 344.11 | 22:00
2017-12-29 | 357.3 | 352.8 | 22:00 | 344.11 | 22:00 | 341.77 | 21:00
2017-12-30 | 352.8 | 340.22 | 21:00
2017-12-30 | 352.8 | 340.22 | 21:00 | 331.6 | 21:00
2017-12-30 | 352.8 | 340.22 | 21:00 | 331.6 | 21:00 | 333.76 | 21:00
2017-12-31 | 352.7 | 347.7 | 21:00
2018-01-01 | 354.2 |  |  | 358 | 5:00
2018-01-02 | 358.98 | 358.98 | 5:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-02 | 358.98 | 358.98 | 5:00 |  |  | 357.46 | 21:00
2018-01-03 | 358.97 | 358.97 | 5:00
2018-01-03 | 358.97 | 358.97 | 5:00 | 353.4 | 20:00
2018-01-04 | 359.37 | 341.52 | 21:00
2018-01-05 | 357.62 | 357.6 | 5:00
2018-01-05 | 357.62 | 357.6 | 5:00 | 349.9 | 21:00
2018-01-05 | 357.62 | 357.6 | 5:00 | 349.9 | 21:00 | 341 | 21:00
2018-01-06 | 357 | 357 | 20:00
2018-01-06 | 357 | 357 | 20:00 | 352.3 | 20:00
2018-01-06 | 357 | 357 | 20:00 | 352.3 | 20:00 | 347.6 | 21:00
2018-01-06 | 357 | 357 | 20:00 | 352.3 | 20:00 | 347.6 | 21:00
2018-01-07 | 353.3 | 333.7 | 21:00
2018-01-07 | 353.3 | 333.7 | 21:00 | 320.8 | 21:00
2018-01-07 | 353.3 | 333.7 | 21:00 | 320.8 | 21:00 | 326.7 | 21:00
2018-01-08 | 355.8 | 348.6 | 20:00
2018-01-08 | 355.8 | 348.6 | 20:00 | 341.3 | 21:00
2018-01-08 | 355.8 | 348.6 | 20:00 | 341.3 | 21:00 | 336.8 | 21:00
2018-01-09 | 355.2 | 344.26 | 21:00
2018-01-09 | 355.2 | 344.26 | 21:00 | 338.5 | 21:00
2018-01-09 | 355.2 | 344.26 | 21:00 | 338.5 | 21:00 | 339.7 | 21:00
2018-01-10 | 353.9 | 345.66 | 21:00
2018-01-11 | 356.2 | 345.01 | 21:00
2018-01-12 | 354.76 | 344.9 | 22:00
2018-01-12 | 354.76 | 344.9 | 22:00 | 345.8 | 19:00
2018-01-13 | 354.76 | 344.9 | 22:00 | 355.96 | 20:00
2018-01-13 | 354.76 | 344.9 | 22:00 | 355.96 | 20:00 | 355.9 | 20:00
2018-01-14 | 355.33 | 343.9 | 20:00
2018-01-14 | 355.33 | 343.9 | 20:00 | 343.9 | 20:00
2018-01-14 | 355.33 | 343.9 | 20:00 | 343.9 | 20:00 | 339.6 | 21:00
2018-01-15 | 352.14 | 346.46 | 20:00
2018-01-15 | 352.14 | 346.46 | 20:00 |  |  | 356.5 | 21:00
2018-01-15 | 352.14 | 346.46 | 20:00 | 356.5 | 21:00 | 356.5 | 21:00
2018-01-16 | 350.27 | 351.75 | 20:00
2018-01-16 | 350.27 | 351.75 | 20:00 | 343.3 | 22:00
2018-01-16 | 350.27 | 351.75 | 20:00 | 343.3 | 22:00 | 336.8 | 21:00
2018-01-17 | 347.89 | 338.03 | 21:00
2018-01-17 | 347.89 | 338.03 | 21:00 | 337.5 | 21:00
2018-01-17 | 347.89 | 338.03 | 21:00 | 337.5 | 21:00 | 332.9 | 21:00
2018-01-18 | 348.3 | 316.5 | 21:00
2018-01-18 | 348.3 | 316.5 | 21:00 | 332.01 | 22:00
2018-01-18 | 348.3 | 316.5 | 21:00 | 332.01 | 22:00 | 332.7 | 22:00
2018-01-19 | 348.3 | 329.8 | 21:00
2018-01-19 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00
2018-01-19 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00 | 335.08 | 21:00
2018-01-20 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00 | 335.08 | 21:00
2018-01-20 | 350.83 | 329.8 | 21:00 | 331.96 | 22:00 | 335.08 | 21:00
2018-01-20 | 350.12 | 326.89 | 22:00
2018-01-20 | 350.12 | 326.89 | 22:00 | 334.48 | 21:00
2018-01-20 | 350.12 | 326.89 | 22:00 | 334.48 | 21:00 | 331.2 | 22:00
2018-01-21 | 350.93 | 350.93 | 22:00
2018-01-22 | 351.4 | 333.1 | 22:00
2018-01-22 | 351.4 | 333.1 | 22:00 | 323.7 | 21:00
2018-01-22 | 351.4 | 333.1 | 22:00 | 323.7 | 21:00 | 332 | 21:00
2018-01-23 | 347.9 | 347.5 | 19:00
2018-01-23 | 347.9 | 347.5 | 19:00 | 332 | 21:00
2018-01-23 | 347.9 | 347.5 | 19:00 | 332 | 21:00 | 333.95 | 21:00
2018-01-24 | 347.9 | 344.5 | 20:00
2018-01-24 | 347.9 | 344.5 | 20:00 | 338.7 | 21:00
2018-01-24 | 344.1 | 344.5 | 20:00 | 338.7 | 21:00
2018-01-24 | 344.1 | 344.5 | 20:00 | 338.7 | 21:00 | 333.6 | 21:00
2018-01-25 | 349.37 | 338.9 | 21:00
2018-01-25 | 349.37 | 338.9 | 21:00
2018-01-25 | 349.37 | 338.9 | 21:00 | 332.6 | 22:00
2018-01-25 | 349.37 | 338.9 | 21:00 | 332.6 | 22:00 | 331.3 | 22:00
2018-01-26 | 353.04 | 340.34 | 21:00
2018-01-26 | 353.04 | 340.34 | 21:00 | 337.9 | 22:00
2018-01-26 | 353.04 | 340.34 | 21:00 | 337.9 | 22:00 | 336.6 | 22:00
2018-01-27 | 353.04 | 340.34 | 21:00 | 337.9 | 22:00 | 336.6 | 22:00
2018-01-27 | 353.04 | 340.65 | 21:00
2018-01-27 | 352.74 | 340.65 | 21:00
2018-01-27 | 352.74 | 340.65 | 21:00
2018-01-27 | 352.74 | 340.65 | 21:00 | 340.65 | 21:00 | 330.79 | 21:00
2018-01-28 | 349.87 | 351.8 | 5:00
2018-01-28 | 349.87 | 351.8 | 5:00 | 344.1 | 20:00
2018-01-28 | 349.87 | 351.8 | 5:00 | 344.1 | 20:00 | 343.6 | 20:00
2018-01-29 | 349.5 | 343.61 | 20:00
2018-01-30 | 351.1 | 335.8 | 20:00
2018-01-30 | 351.1 | 335.8 | 20:00 | 334.26 | 21:00
2018-01-31 | 350.4 | 350.8 | 20:00
2018-01-31 | 350.4 | 350.8 | 20:00 | 350.5 | 5:00
2018-01-31 | 350.4 | 350.8 | 20:00 | 350.4 | 5:00
2018-01-31 | 350.4 | 350.8 | 20:00 | 350.4 | 5:00 | 341.81 | 21:00
2018-02-01 | 350.4 | 342.57 | 21:00
2018-02-01 | 350.4 | 342.57 | 21:00 | 351.9 | 21:00
2018-02-01 | 350.4 | 342.57 | 21:00 | 351.9 | 21:00 | 339 | 21:00
2018-02-02 | 350.4 | 335.9 | 21:00
2018-02-02 | 350.4 | 335.9 | 21:00 |  |  | 335.9 | 21:00
2018-02-02 | 350.4 | 335.9 | 21:00 | 335.9 | 21:00 | 335.9 | 21:00
2018-02-03 | 356.5 | 349.9 | 20:00
2018-02-04 | 357.08 | 354.45 | 20:00
2018-02-05 | 355.84 | 349.9 | 21:00
2018-02-06 | 353.78 | 350.16 | 20:00
2018-02-07 | 351.5 | 346.56 | 21:00
2018-02-07 | 351.5 | 346.56 | 21:00 | 340.9 | 21:00
2018-02-07 | 351.5 | 346.56 | 21:00 | 340.9 | 21:00 | 338.9 | 21:00
2018-02-08 | 351.4 | 350.1 | 21:00
2018-02-08 | 351.4 | 350.1 | 21:00 | 326.3 | 21:00
2018-02-08 | 351.4 | 350.1 | 21:00 | 326.3 | 21:00 | 327.1 | 21:00
2018-02-09 | 354.4 | 332.4 | 22:00
2018-02-09 | 354.4 | 332.4 | 22:00 | 337.5 | 21:00
2018-02-10 | 353.77 | 333.7 | 22:00 | 329.4 | 22:00
2018-02-10 | 353.77 | 333.7 | 22:00 | 329.4 | 22:00 | 324.1 | 22:00
2018-02-11 | 355.5 | 342.7 | 21:00
2018-02-11 | 355.5 | 342.7 | 21:00 | 348.8 | 21:00
2018-02-11 | 355.5 | 342.7 | 21:00 | 348.8 | 21:00 | 348.8 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00
2018-02-12 | 358.1 | 335.5 | 20:00 |  |  | 332.54 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00 |  |  | 332.54 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00 |  |  | 332.54 | 21:00
2018-02-12 | 358.1 | 335.5 | 20:00 | 333 | 21:00 | 332.54 | 21:00
2018-02-13 | 356.29 | 351 | 21:00
2018-02-13 | 356.29 | 351 | 21:00 | 342.4 | 21:00
2018-02-13 | 356.29 | 351 | 21:00 | 342.4 | 21:00 | 335.95 | 22:00
2018-02-14 | 356.1 | 347.9 | 22:00
2018-02-15 | 353.6 | 345.7 | 21:00
2018-02-15 | 353.6 | 345.7 | 21:00 |  |  | 346.6 | 21:00
2018-02-16 | 352.81 | 343.3 | 21:00
2018-02-16 | 352.81 | 343.3 | 21:00 | 324.9 | 22:00
2018-02-16 | 352.81 | 343.3 | 21:00 | 324.9 | 22:00 | 337 | 20:00
2018-02-17 | 351.95 | 345.9 | 21:00
2018-02-17 | 351.95 | 345.9 | 21:00 | 344 | 21:00
2018-02-17 | 351.95 | 345.9 | 21:00 | 344 | 21:00 | 340.5 | 21:00
2018-02-18 | 354.1 | 356.4 | 5:00
2018-02-18 | 354.1 | 356.4 | 5:00 | 351 | 21:00 | 342 | 22:00
2018-02-19 | 355.2 | 355.41 | 20:00
2018-02-19 | 355.2 | 355.41 | 20:00 | 342.27 | 21:00
2018-02-19 | 355.2 | 355.41 | 20:00 | 342.27 | 21:00 | 330 | 21:00
2018-02-20 | 356.7 | 330.9 | 21:00
2018-02-20 | 356.7 | 330.9 | 21:00 | 353.61 | 21:00
2018-02-20 | 356.7 | 330.9 | 21:00 | 353.61 | 21:00 | 349 | 22:00
2018-02-21 | 356.6 | 359.01 | 6:00
2018-02-21 | 356.6 | 359.01 | 6:00 |  |  | 347.06 | 22:00
2018-02-21 | 356.6 | 359.01 | 6:00 | 349.2 | 21:00 | 347.06 | 22:00
2018-02-22 | 357.7 | 356 | 21:00
2018-02-22 | 357.7 | 356 | 21:00 | 350.2 | 21:00 | 344.6 | 22:00
2018-02-23 | 358.7 | 358.7 | 5:00
2018-02-23 | 358.7 | 358.7 | 5:00 | 360.7 | 5:00
2018-02-24 | 367.21 | 367.21 | 5:00
2018-02-24 | 367.21 | 367.21 | 5:00 |  |  | 370.1 | 5:00
2018-02-24 | 367.21 | 367.21 | 5:00 | 368 | 5:00 | 370.1 | 5:00
2018-02-25 | 365.11 | 365.11 | 5:00
2018-02-25 | 365.11 | 365.11 | 5:00 | 356.55 | 21:00
2018-02-25 | 365.11 | 365.11 | 5:00 | 356.55 | 21:00 | 360.3 | 20:00
2018-02-26 | 365.4 | 365.4 | 5:00
2018-02-26 | 365.4 | 365.4 | 5:00 | 353 | 22:00
2018-02-26 | 365.4 | 365.4 | 5:00 | 353 | 22:00 | 346.8 | 21:00
2018-02-27 | 325.36 | 324 | 22:00
2018-02-27 | 358.4 | 324 | 22:00 | 331 | 22:00
2018-02-27 | 358.4 | 324 | 22:00 | 331 | 22:00 | 329.3 | 21:00
2018-02-28 | 350.18 | 347.9 | 19:00
2018-02-28 | 350.18 | 347.9 | 19:00 |  |  | 322 | 22:00
2018-03-01 | 340.6 | 347.9 | 19:00 | 320 | 22:00 | 299 | 22:00
2018-03-02 | 340.04 | 323.95 | 21:00
2018-03-02 | 340.04 | 323.95 | 21:00 | 334.77 | 20:00
2018-03-02 | 340.04 | 323.95 | 21:00 | 334.77 | 20:00 | 319.7 | 20:00
2018-03-03 | 359 | 347 | 21:00
2018-03-03 | 359 | 347 | 21:00 | 347 | 21:00
2018-03-03 | 359 | 347 | 21:00 | 347 | 21:00 | 347 | 21:00
2018-03-04 | 365.6 | 365.6 | 5:00
2018-03-04 | 365.6 | 365.6 | 5:00 | 361 | 21:00
2018-03-04 | 365.6 | 365.6 | 5:00 | 361 | 21:00 | 350 | 21:00
2018-03-05 | 370 | 370 | 5:00
2018-03-05 | 370 | 370 | 5:00 | 355.76 | 21:00
2018-03-05 | 370 | 370 | 5:00 | 355.76 | 21:00 | 354.7 | 21:00
2018-03-06 | 360 | 353.4 | 21:00
2018-03-06 | 360 | 353.4 | 21:00 | 358.9 | 20:00
2018-03-06 | 360 | 353.4 | 21:00 | 358.9 | 20:00 | 351.9 | 21:00
2018-03-07 | 356.8 | 350.4 | 20:00
2018-03-07 | 356.8 | 350.4 | 20:00 | 345 | 22:00
2018-03-07 | 356.8 | 350.4 | 20:00 | 345 | 22:00 | 349.6 | 21:00
2018-03-08 | 356.6 | 354 | 20:00
2018-03-08 | 356.6 | 354 | 20:00 | 342 | 22:00
2018-03-08 | 356.6 | 354 | 20:00 | 342 | 22:00 | 341.6 | 21:00
2018-03-10 | 358.2 | 345.7 | 20:00
2018-03-10 | 358.2 | 345.7 | 20:00 | 344 | 21:00
2018-03-10 | 358.2 | 345.7 | 20:00 | 344 | 21:00 | 345.8 | 21:00
2018-03-11 | 361.3 | 346.8 | 20:00
2018-03-11 | 361.3 | 346.8 | 20:00 | 344.4 | 20:00
2018-03-12 | 359.8 | 342.7 | 21:00
2018-03-12 | 359.8 | 342.7 | 21:00 | 343.3 | 21:00
2018-03-12 | 359.8 | 342.7 | 21:00 | 343.3 | 21:00 | 342.5 | 20:00
2018-03-13 | 360.3 | 344 | 21:00 | 344.2 | 21:00
2018-03-13 | 360.3 | 344 | 21:00 | 344.2 | 21:00 | 344.5 | 21:00
2018-03-14 | 358.8 | 358.4 | 8:00
2018-03-14 | 358.8 | 358.4 | 8:00 | 358.4 | 9:00
2018-03-14 | 358.8 | 358.4 | 8:00 | 358.4 | 9:00 | 343.8 | 21:00
2018-03-15 | 355.45 | 346.55 | 21:00
2018-03-15 | 355.45 | 346.55 | 21:00 | 346.5 | 21:00
2018-03-15 | 355.45 | 346.55 | 21:00 | 346.5 | 21:00 | 335.6 | 21:00
2018-03-16 | 356 | 341 | 20:00
2018-03-16 | 356 | 341 | 20:00 | 347.6 | 20:00
2018-03-16 | 356 | 341 | 20:00 | 347.6 | 20:00 | 347.6 | 20:00
2018-03-17 | 358.49 | 351.14 | 21:00
2018-03-17 | 358.49 | 351.14 | 21:00 | 340.7 | 21:00 | 341.5 | 21:00
2018-03-18 | 351.15 | 345.37 | 21:00
2018-03-19 | 355.15 | 355 | 5:00
2018-03-19 | 355.15 | 355 | 5:00 | 355.6 | 21:00
2018-03-20 | 362.3 | 338.3 | 21:00
2018-03-20 | 362.3 | 338.3 | 21:00 | 342.2 | 20:00
2018-03-21 | 363.15 | 349 | 21:00
2018-03-21 | 363.15 | 349 | 21:00 | 342.3 | 21:00
2018-03-21 | 363.15 | 349 | 21:00 | 342.3 | 21:00 | 349.9 | 19:00
2018-03-22 | 360.3 | 357.5 | 21:00
2018-03-22 | 360.3 | 357.5 | 21:00 | 356.3 | 21:00
2018-03-22 | 360.3 | 357.5 | 21:00 | 356.3 | 21:00 | 351 | 21:00
2018-03-23 | 361.5 | 356.1 | 21:00
2018-03-23 | 361.5 | 356.1 | 21:00 | 346.3 | 21:00
2018-03-24 | 362.8 | 363 | 20:00
2018-03-24 | 362.8 | 363 | 20:00 | 352.9 | 21:00
2018-03-24 | 362.8 | 363 | 20:00 | 352.9 | 21:00 | 352.8 | 21:00
2018-03-25 | 365.27 | 365.2 | 6:00 | 365.2 | 6:00
2018-03-25 | 365.27 | 365.2 | 6:00 | 365.2 | 6:00 | 365.2 | 6:00
2018-03-26 | 363.3 | 361.2 | 20:00
2018-03-26 | 363.3 | 361.2 | 20:00 | 352.56 | 21:00 | 352.56 | 21:00
2018-03-27 | 364.51 | 349.23 | 21:00
2018-03-28 | 363.47 | 354 | 22:00
2018-03-28 | 363.47 | 354 | 22:00 | 354 | 22:00
2018-03-29 | 362.27 | 339.64 | 21:00
2018-03-29 | 362.27 | 339.64 | 21:00 | 341.3 | 20:00
2018-03-30 | 361.1 | 361.1 | 5:00
2018-03-30 | 361.1 | 361.1 | 5:00 | 361.1 | 5:00
2018-03-31 | 361.9 | 364 | 5:00
2018-03-31 | 361.9 | 361.9 | 5:00 | 361.9 | 5:00
2018-03-31 | 361.9 | 361.9 | 5:00 | 361.9 | 5:00 | 357 | 22:00
2018-04-01 | 356.1 | 324.3 | 21:00
2018-04-01 | 356.1 | 324.3 | 21:00 | 327.5 | 22:00
2018-04-01 | 356.1 | 324.3 | 21:00 | 327.5 | 22:00 | 332 | 22:00
2018-04-02 | 353.98 | 339.7 | 21:00
2018-04-02 | 353.98 | 339.7 | 21:00 | 339.7 | 21:00
2018-04-02 | 353.98 | 339.7 | 21:00 | 339.7 | 21:00 | 332 | 22:00
2018-04-03 | 356.3 | 340.9 | 21:00
2018-04-03 | 356.3 | 340.9 | 21:00 | 351.16 | 20:00
2018-04-03 | 356.3 | 340.9 | 21:00 | 351.16 | 20:00 | 346 | 21:00
2018-04-04 | 357.7 | 348.5 | 21:00
2018-04-04 | 357.7 | 348.5 | 21:00 | 347 | 21:00 | 345 | 22:00
2018-04-05 | 355.1 | 329 | 23:00
2018-04-06 | 356.7 | 353.7 | 22:00
2018-04-06 | 356.7 | 353.7 | 22:00 | 351.6 | 21:00
2018-04-07 | 357.7 | 338.8 | 22:00
2018-04-07 | 357.7 | 338.8 | 22:00 | 343.2 | 22:00
2018-04-07 | 357.7 | 338.8 | 22:00 | 343.2 | 22:00 | 342.8 | 21:00
2018-04-08 | 355.86 | 342 | 22:00
2018-04-08 | 355.86 | 342 | 22:00 | 342.3 | 22:00
2018-04-08 | 355.86 | 342 | 22:00 | 342.3 | 22:00 | 344 | 21:00
2018-04-09 | 356.7 | 332.7 | 21:00
2018-04-09 | 356.7 | 332.7 | 21:00 |  |  | 332.7 | 22:00
2018-04-09 | 356.7 | 332.7 | 21:00 |  |  | 332.7 | 22:00
2018-04-09 | 356.7 | 332.7 | 21:00 |  |  | 332.7 | 22:00
2018-04-09 | 356.7 | 332.7 | 21:00 | 332.7 | 22:00 | 332.7 | 22:00
2018-04-10 | 353.82 | 350.74 | 21:00
2018-04-10 | 353.82 | 350.74 | 21:00 | 340 | 21:00
2018-04-10 | 353.82 | 350.74 | 21:00 | 340 | 21:00 | 337.4 | 21:00
2018-04-11 | 348.84 | 334.2 | 22:00
2018-04-11 | 348.84 | 334.2 | 22:00 | 331.3 | 21:00
2018-04-11 | 348.84 | 334.2 | 22:00 | 331.3 | 21:00 | 327 | 22:00
2018-04-12 | 347.6 | 329.3 | 22:00
2018-04-12 | 347.6 | 329.3 | 22:00 | 321 | 22:00
2018-04-12 | 347.6 | 329.3 | 22:00 | 321 | 22:00 | 324 | 22:00
2018-04-13 | 342.91 | 313.2 | 21:00
2018-04-13 | 342.91 | 313.2 | 21:00 | 319.5 | 21:00
2018-04-14 | 342.29 | 339 | 22:00
2018-04-14 | 342.29 | 339 | 22:00 | 339.4 | 21:00
2018-04-14 | 342.29 | 339 | 22:00 | 339.4 | 21:00 | 342 | 22:00
2018-04-15 | 346.02 | 346.02 | 5:00
2018-04-15 | 346.02 | 346.02 | 5:00 | 338.2 | 22:00
2018-04-15 | 346.02 | 346.02 | 5:00 | 338.2 | 22:00 | 342.1 | 22:00
2018-04-16 | 343.89 | 319.84 | 23:00 | 0 |  | 0
2018-04-16 | 343.89 | 319.84 | 23:00
2018-04-16 | 343.89 | 319.84 | 23:00 | 331.88 | 23:00
2018-04-16 | 343.89 | 319.84 | 23:00 | 331.88 | 23:00 | 335.9 | 21:00
2018-04-17 | 343.89 | 342.5 | 8:00
2018-04-17 | 343.89 | 342.5 | 8:00 | 343.16 | 8:00
2018-04-17 | 343.89 | 342.5 | 8:00 | 343.16 | 8:00 | 336.9 | 23:00
2018-04-18 | 341.73 | 341.73 | 22:00 | 338.04 | 22:00
2018-04-18 | 341.73 | 341.73 | 22:00 | 338.04 | 22:00 | 340.5 | 22:00
2018-04-19 | 341.96 | 339.6 | 22:00
2018-04-19 | 341.96 | 339.6 | 22:00 | 335.6 | 22:00
2018-04-19 | 341.96 | 339.6 | 22:00 | 335.6 | 22:00 | 336.8 | 22:00
2018-04-20 | 345.79 | 324.7 | 23:00
2018-04-20 | 345.79 | 324.7 | 23:00 |  |  | 337.4 | 22:00
2018-04-21 | 345.79 | 349.68 | 10:00
2018-04-21 | 349 | 349.68 | 10:00
2018-04-21 | 349 | 349.68 | 10:00
2018-04-21 | 349 | 349.68 | 10:00 | 347.3 | 13:00
2018-04-21 | 349 | 349.68 | 10:00 | 347.3 | 13:00 | 347.7 | 13:00
2018-04-22 | 349.8 | 350.5 | 5:00
2018-04-22 | 349.8 | 350.5 | 5:00 |  |  | 343.3 | 22:00
2018-04-23 | 351.1 | 353.9 | 5:00
2018-04-23 | 351.1 | 353.9 | 5:00 | 352.4 | 9:00
2018-04-23 | 351.1 | 353.9 | 5:00 | 352.4 | 9:00 | 349.8 | 23:00
2018-04-24 | 349.6 | 350.2 | 23:00
2018-04-24 | 349.6 | 350.2 | 23:00 | 343.8 | 22:00
2018-04-25 | 349.3 | 333.7 | 23:00
2018-04-25 | 349.3 | 333.7 | 23:00 | 333.7 | 22:00
2018-04-25 | 349.3 | 333.7 | 23:00 | 333.7 | 22:00 | 345.3 | 22:00
2018-04-26 | 352.6 | 352.6 | 5:00
2018-04-26 | 352.6 | 352.6 | 5:00 | 354.9 | 5:00
2018-04-26 | 352.6 | 352.6 | 5:00 | 354.9 | 5:00 | 352.8 | 23:00
2018-04-29 | 352.6 | 348.09 | 21:00
2018-04-30 | 352.6 | 348.09 | 21:00 | 327.7 | 0:00
2018-04-30 | 350.2 | 348.09 | 21:00 | 327.7 | 0:00
2018-05-01 | 352.49 | 345 | 15:00
2018-05-01 | 352.49 | 345 | 15:00
2018-05-02 | 353.85 | 345 | 22:00
2018-05-02 | 353.85 | 345 | 22:00 | 351.8 | 22:00
2018-05-02 | 353.85 | 345 | 22:00 | 351.8 | 22:00 | 347.5 | 22:00
2018-05-03 | 353.85 | 344.2 | 22:00
2018-05-03 | 353.85 | 344.2 | 22:00 | 352.1 | 19:00
2018-05-03 | 353.85 | 344.2 | 22:00 | 352.1 | 19:00 | 351.6 | 22:00
2018-05-04 | 355.31 | 334.4 | 22:00
2018-05-04 | 355.31 | 334.4 | 22:00 | 342 | 22:00
2018-05-04 | 355.31 | 334.4 | 22:00 | 342 | 22:00 | 340 | 22:00
2018-05-05 | 356.85 | 357 | 13:00
2018-05-05 | 356.85 | 357 | 13:00 | 346 | 13:00
2018-05-05 | 356.85 | 357 | 13:00 | 346 | 13:00 | 346 | 13:00
2018-05-06 | 358.4 | 356.05 | 12:00
2018-05-06 | 358.4 | 356.05 | 12:00 | 348 | 22:00
2018-05-06 | 358.4 | 356.05 | 12:00 | 348 | 22:00 | 348 | 18:00
2018-05-07 | 358.5 | 350.9 | 18:00
2018-05-07 | 358.5 | 350.9 | 18:00 | 354.1 | 12:00
2018-05-07 | 358.5 | 350.9 | 18:00 | 354.1 | 12:00 | 342 | 22:00
2018-05-08 | 356.39 | 349.04 | 23:00
2018-05-08 | 356.39 | 349.04 | 23:00 | 350 | 23:00
2018-05-08 | 356.39 | 349.04 | 23:00 | 350 | 23:00 | 349 | 0:00
2018-05-09 | 358.57 | 355.14 | 13:00
2018-05-10 | 352.25 | 343.9 | 22:00
2018-05-10 | 352.25 | 343.9 | 22:00 | 344.3 | 22:00
2018-05-11 | 354.96 | 0.20833 | 8553:07
2018-05-11 | 354.96 | 354.96 | 5:00 | 354.96 | 5:00
2018-05-11 | 354.96 | 354.96 | 5:00 | 354.96 | 5:00 | 353.3 | 23:00
2018-05-12 | 348.3 | 345.9 | 23:00
2018-05-12 | 348.3 | 345.9 | 23:00 | 342.7 | 23:00
2018-05-12 | 348.3 | 345.9 | 23:00 | 342.7 | 23:00 | 339.2 | 23:00
2018-05-13 | 348.7 | 350.03 | 5:00
2018-05-13 | 348.7 | 350.03 | 5:00 | 347.3 | 14:00
2018-05-13 | 348.7 | 350.03 | 5:00 | 347.3 | 14:00 | 344.7 | 23:00
2018-05-14 | 350.91 | 348.2 | 19:00
2018-05-14 | 350.91 | 348.2 | 19:00 | 341 | 21:00
2018-05-14 | 350.91 | 348.2 | 19:00 | 341 | 21:00 | 339.5 | 23:00
2018-05-15 | 350.89 | 347.55 | 19:00
2018-05-15 | 350.89 | 347.55 | 19:00 | 0.5 | 8352:00
2018-05-16 | 350.2 | 351.5 | 22:00
2018-05-16 | 350.2 | 351.5 | 22:00 | 348 | 21:00
2018-05-16 | 350.2 | 351.5 | 22:00 | 348 | 21:00 | 345 | 22:00
2018-05-17 | 351.54 | 333.1 | 0:00
2018-05-17 | 351.54 | 333.1 | 0:00 | 337 | 0:00
2018-05-17 | 351.54 | 333.1 | 0:00 | 337 | 0:00 | 340 | 23:00
2018-05-18 | 347.8 | 339.8 | 16:00
2018-05-18 | 347.8 | 339.8 | 16:00 | 339.4 | 16:00
2018-05-19 | 347.63 | 347 | 5:00
2018-05-19 | 347.63 | 347 | 5:00 | 351.3 | 5:00
2018-05-19 | 347.63 | 347 | 5:00 | 351.3 | 5:00 | 348.6 | 23:00
2018-05-20 | 347.39 | 347 | 5:00
2018-05-20 | 347.39 | 347 | 5:00 | 349.2 | 5:00
2018-05-20 | 347.39 | 347 | 5:00 | 349.2 | 5:00 | 349.2 | 5:00
2018-05-21 | 343.51 | 327 | 22:00
2018-05-21 | 343.51 | 327 | 22:00 | 334.2 | 12:00
2018-05-21 | 343.51 | 327 | 22:00 | 334.2 | 12:00 | 338.8 | 17:00
2018-05-22 | 343.18 | 344.17 | 10:00
2018-05-22 | 343.18 | 344.17 | 10:00 | 335 | 23:00
2018-05-22 | 343.18 | 344.17 | 10:00 | 335 | 23:00 | 336.4 | 22:00
2018-05-23 | 342.4 | 342.4 | 5:00
2018-05-23 | 342.4 | 342.4 | 5:00 | 337 | 22:00
2018-05-23 | 342.4 | 342.4 | 5:00 | 337 | 22:00 | 329.7 | 0:00
2018-05-24 | 340.5 | 332.5 | 22:00
2018-05-24 | 340.5 | 332.5 | 22:00 | 330 | 23:00
2018-05-25 | 339.6 | 324.5 | 22:00
2018-05-25 | 339.6 | 324.5 | 22:00 | 334 | 14:00
2018-05-25 | 339.6 | 324.5 | 22:00 | 334 | 14:00 | 332 | 15:00
2018-05-26 | 341.8 | 339.6 | 20:00
2018-05-26 | 341.8 | 339.6 | 20:00 | 340.95 | 10:00
2018-05-26 | 341.8 | 339.6 | 20:00 | 340.95 | 10:00 | 342.1 | 6:00
2018-05-27 | 344.6 | 344.6 | 5:00
2018-05-27 | 344.6 | 344.6 | 5:00
2018-05-27 | 344.6 | 344.6 | 5:00 | 345.2 | 5:00
2018-05-27 | 344.6 | 344.6 | 5:00 | 345.2 | 5:00 | 342.4 | 23:00
2018-05-28 | 346.05 | 332.9 | 2:00
2018-05-28 | 346.05 | 332.9 | 2:00 | 332.6 | 1:00
2018-05-28 | 346.05 | 332.9 | 2:00 | 332.6 | 1:00 | 335.07 | 22:00
2018-05-29 | 346.03 | 341.2 | 23:00
2018-05-29 | 346.03 | 341.2 | 23:00 | 335.9 | 19:00
2018-05-29 | 346.03 | 341.2 | 23:00 | 335.9 | 19:00 | 332 | 22:00
2018-05-30 | 345.57 | 330.6 | 22:00
2018-05-30 | 345.57 | 330.6 | 22:00 | 333.46 | 22:00
2018-05-30 | 345.57 | 330.6 | 22:00 | 333.46 | 22:00 | 333.5 | 22:00
2018-05-31 | 340.4 | 333 | 21:00 | 333 | 21:00
2018-05-31 | 340.4 | 333 | 21:00 | 333 | 21:00 | 336.5 | 19:00
2018-06-01 | 341.02 | 341.02 | 120:00
2018-06-01 | 341.02 | 341.02 | 120:00
2018-06-01 | 341.02 | 341.02 | 5:00
2018-06-01 | 341.02 | 341.02 | 5:00 | 340.2 | 18:00
2018-06-01 | 341.02 | 341.02 | 5:00 | 340.2 | 18:00 | 333.2 | 20:00
2018-06-02 | 339.5 | 332.66 | 4:00
2018-06-02 | 339.5 | 332.66 | 4:00 | 335.8 | 22:00
2018-06-02 | 339.5 | 332.66 | 4:00 | 335.8 | 22:00 | 333.8 | 22:00
2018-06-03 | 339.2 | 333.8 | 22:00
2018-06-03 | 339.2 | 333.8 | 22:00 | 337.8 | 4:00
2018-06-03 | 339.2 | 333.8 | 22:00 | 337.8 | 4:00 | 339.5 | 22:00
2018-06-04 | 336.9 | 326.3 | 23:00
2018-06-04 | 336.9 | 326.3 | 23:00 | 334.77 | 23:00
2018-06-04 | 336.9 | 326.3 | 23:00 | 334.77 | 23:00 | 335.5 | 11:00
2018-06-05 | 340 | 332.2 | 22:00
2018-06-05 | 340 | 332.2 | 22:00 | 328.6 | 22:00
2018-06-05 | 340 | 332.2 | 22:00 | 328.6 | 22:00 | 332.3 | 13:00
2018-06-06 | 341.4 | 339 | 12:00
2018-06-06 | 341.4 | 339 | 12:00 | 338.9 | 12:00
2018-06-06 | 341.4 | 339 | 12:00 | 338.9 | 12:00 | 339 | 13:00
2018-06-07 | 341.4 | 339.7 | 17:00
2018-06-07 | 341.4 | 339.7 | 17:00 | 339.7 | 17:00
2018-06-07 | 341.4 | 339.7 | 17:00 | 339.7 | 17:00 | 336 | 22:00
2018-06-08 | 341.51 | 333 | 22:00
2018-06-08 | 341.51 | 333 | 22:00 | 332.4 | 22:00
2018-06-08 | 341.51 | 333 | 22:00 | 332.4 | 22:00 | 335.7 | 0:00
2018-06-09 | 339.97 | 338.15 | 15:00
2018-06-09 | 339.97 | 338.15 | 15:00 | 339.1 | 15:00
2018-06-09 | 339.97 | 338.15 | 15:00 | 339.1 | 15:00 | 338.9 | 19:00
2018-06-10 | 340.3 | 340.3 | 5:00
2018-06-10 | 340.3 | 340.3 | 5:00 | 341.8 | 5:00
2018-06-10 | 340.3 | 340.3 | 5:00 | 341.8 | 5:00 | 341.2 | 5:00
2018-06-11 | 338.21 | 336.95 | 11:00
2018-06-11 | 338.21 | 336.95 | 11:00 |  |  | 337.2 | 11:00
2018-06-11 | 338.21 | 336.95 | 11:00 |  |  | 337.2 | 11:00
2018-06-12 | 338.06 | 327 | 22:00
2018-06-12 | 338.06 | 327 | 22:00 | 337.6 | 18:00
2018-06-12 | 338.06 | 327 | 22:00 | 337.6 | 18:00 | 334.1 | 18:00
2018-06-13 | 336.24 | 310 | 20:00
2018-06-13 | 336.24 | 310 | 20:00 | 315.5 | 19:00
2018-06-13 | 336.24 | 310 | 20:00 | 315.5 | 19:00 | 323.4 | 17:00
2018-06-14 | 331.4 | 331.4 | 5:00
2018-06-14 | 331.4 | 331.4 | 5:00 | 333.3 | 5:00
2018-06-14 | 331.4 | 331.4 | 5:00 | 333.3 | 5:00 | 326.7 | 22:00
2018-06-15 | 333.3 | 333.3 | 5:00
2018-06-15 | 333.3 | 333.3 | 5:00 | 329 | 21:00
2018-06-15 | 333.3 | 333.3 | 5:00 | 329 | 21:00 | 332.33 | 0:00
2018-06-16 | 335.1 | 330.8 | 22:00
2018-06-16 | 335.1 | 330.8 | 22:00 | 333 | 23:00
2018-06-16 | 335.1 | 330.8 | 22:00 | 333 | 23:00 | 332 | 14:00
2018-06-17 | 339.5 | 338.55 | 22:00
2018-06-17 | 339.5 | 338.55 | 22:00 | 336 | 13:00
2018-06-17 | 339.5 | 338.55 | 22:00 | 336 | 13:00 | 336 | 23:00
2018-06-18 | 340.5 | 340.1 | 12:00
2018-06-18 | 340.5 | 340.1 | 12:00 |  |  | 333 | 20:00
2018-06-19 | 339.05 | 338 | 20:00
2018-06-19 | 339.05 | 338 | 20:00 | 334.92 | 22:00
2018-06-19 | 339.05 | 338 | 20:00 | 334.92 | 22:00 | 332 | 20:00
2018-06-20 | 341.5 | 340.4 | 23:00
2018-06-20 | 341.5 | 340.4 | 23:00 |  |  | 332.6 | 22:00
2018-06-20 | 341.5 | 340.4 | 23:00 |  |  | 332.6 | 22:00
2018-06-21 | 343.69 | 343.69 | 5:00
2018-06-21 | 343.69 | 343.69 | 5:00 | 345.5 | 8:00
2018-06-22 | 340.39 | 337 | 23:00
2018-06-22 | 340.39 | 337 | 23:00 | 332 | 2:00
2018-06-22 | 340.39 | 337 | 23:00 | 332 | 2:00 | 342.7 | 22:00
2018-06-23 | 341.9 | 338.2 | 11:00
2018-06-23 | 341.9 | 338.2 | 11:00 | 327.8 | 23:00 | 329.3 | 22:00
2018-06-24 | 343.54 | 344 | 5:00
2018-06-24 | 343.54 | 344 | 5:00 | 337.3 | 11:00
2018-06-24 | 343.54 | 344 | 5:00 | 337.3 | 11:00 | 335.1 | 14:00
2018-06-25 | 343.5 | 337.6 | 22:00
2018-06-25 | 343.5 | 337.6 | 22:00 | 339 | 20:00
2018-06-25 | 343.5 | 337.6 | 22:00 | 339 | 20:00 | 335.6 | 21:00
2018-06-26 | 343.5 | 345.8 | 14:00
2018-06-26 | 343.5 | 345.8 | 14:00 | 337 | 15:00
2018-06-26 | 343.5 | 345.8 | 14:00 | 337 | 15:00 | 332.7 | 1:00
2018-06-27 | 346.5 | 335.5 | 22:00
2018-06-27 | 346.5 | 335.5 | 22:00 | 334.5 | 1:00
2018-06-27 | 346.5 | 335.5 | 22:00 | 334.5 | 1:00 | 334 | 19:00
2018-06-28 | 347.4 | 339.6 | 14:00
2018-06-29 | 345.9 | 345.9 | 5:00
2018-06-30 | 343.56 | 343.56 | 5:00
2018-06-30 | 343.56 | 343.56 | 5:00 | - | -
2018-06-30 | 343.56 | 343.56 | 5:00 | - | - | 340.9 | 14:00
2018-07-01 | 344.97 | 344 | 10:00
2018-07-01 | 344.97 | 344 | 10:00
2018-07-01 | 344.97 | 344 | 10:00 | 339 | 14:00
2018-07-01 | 344.97 | 344 | 10:00 | 339 | 14:00 | 340 | 14:00
2018-07-02 | 342.33 | 339 | 10:00
2018-07-02 | 342.33 | 339 | 10:00 | 327.5 | 20:00
2018-07-02 | 342.33 | 339 | 10:00 | 327.5 | 20:00 | 334.98 | 22:00
2018-07-03 | 344.93 | 335.79 | 22:00
2018-07-03 | 344.93 | 335.79 | 22:00 | 331.9 | 23:00
2018-07-04 | 346.05 | 341.21 | 21:00
2018-07-04 | 346.05 | 341.21 | 21:00 | 331 | 22:00
2018-07-04 | 346.05 | 341.21 | 21:00 | 331 | 22:00 | 328.9 | 23:00
2018-07-05 | 346.05 | 344.49 | 9:00
2018-07-05 | 346.05 | 344.49 | 9:00 | 334 | 16:00
2018-07-05 | 346.05 | 344.49 | 9:00 | 334 | 16:00 | 335.8 | 15:00
2018-07-06 | 346.05 | 339.9 | 22:00
2018-07-06 | 346.05 | 339.9 | 22:00 | 334 | 20:00
2018-07-06 | 346.05 | 339.9 | 22:00 | 334 | 20:00 | 334 | 20:00
2018-07-07 | 343.97 | 343.9 | 5:00
2018-07-07 | 343.97 | 343.9 | 5:00 | 337 | 23:00
2018-07-07 | 343.97 | 343.9 | 5:00 | 337 | 23:00 | 332 | 23:00
2018-07-08 | 344.47 | 344.4 | 5:00
2018-07-08 | 344.47 | 344.4 | 5:00 | 345.3 | 1:00
2018-07-09 | 345.21 | 338 | 23:00
2018-07-09 | 345.21 | 338 | 23:00 | 332 | 21:00
2018-07-09 | 345.21 | 338 | 23:00 | 332 | 21:00 | 333.6 | 23:00
2018-07-10 | 344 | 344 | 5:00
2018-07-10 | 344 | 344 | 5:00 | 338 | 22:00
2018-07-10 | 344 | 344 | 5:00 | 338 | 22:00 | 338.8 | 20:00
2018-07-11 | 343 | 341.6 | 19:00
2018-07-11 | 343 | 341.6 | 19:00 | 339.7 | 20:00
2018-07-11 | 343 | 341.6 | 19:00 | 339.7 | 20:00 | 339 | 20:00
2018-07-12 | 344.7 | 339.8 | 18:00
2018-07-12 | 344.7 | 339.8 | 18:00 | 337.2 | 14:00
2018-07-12 | 344.7 | 339.8 | 18:00 | 337.2 | 14:00 | 335 | 19:00
2018-07-13 | 344.5 | 337.7 | 22:00
2018-07-13 | 344.5 | 337.7 | 22:00 | 336 | 23:00
2018-07-13 | 344.5 | 337.7 | 22:00 | 336 | 23:00 | 337.4 | 15:00
2018-07-14 | 344.7 |  |  | 341.5 | 19:00
2018-07-14 | 344.7 |  |  | 341.5 | 19:00 | 340.4 | 22:00
2018-07-14 | 344.7 | 344.7 | 5:00
2018-07-15 | 344.7 | 344.7 | 5:00
2018-07-15 | 344.7 | 344.7 | 5:00 | 344.8 | 22:00
2018-07-15 | 344.7 | 344.7 | 5:00 | 344.8 | 22:00 | 339.9 | 23:00
2018-07-15 | 345 | 340.7 | 23:00
2018-07-16 | 345 | 340.7 | 23:00
2018-07-16 | 345 | 340.7 | 23:00 | 338.1 | 23:00
2018-07-16 | 345 | 340.7 | 23:00 | 338.1 | 23:00 | 343.4 | 16:00
2018-07-17 | 343.7 | 319.6 | 23:00
2018-07-17 | 343.7 | 319.6 | 23:00 | 335.4 | 17:00
2018-07-17 | 343.7 | 319.6 | 23:00 | 335.4 | 17:00 | 339.9 | 16:00
2018-07-18 | 343.5 | 331.5 | 22:00
2018-07-18 | 343.5 | 331.5 | 22:00 | 330.75 | 22:00
2018-07-18 | 343.5 | 331.5 | 22:00 | 330.75 | 22:00 | 334.8 | 15:00
2018-07-19 | 344.2 | 342.3 | 22:00
2018-07-19 | 344.2 | 342.3 | 22:00 | 336.8 | 23:00
2018-07-19 | 344.2 | 342.3 | 22:00 | 336.8 | 23:00 | 342.3 | 20:00
2018-07-20 | 345 | 345.5 | 18:00
2018-07-20 | 345 | 345.5 | 18:00 | 345.1 | 17:00
2018-07-20 | 344.4 | 340.3 | 22:00
2018-07-21 | 344.4 | 340.3 | 22:00
2018-07-21 | 344.4 | 340.3 | 22:00 | 340.2 | 16:00
2018-07-21 | 344.4 | 340.3 | 22:00 | 340.2 | 16:00 | 337.7 | 23:00
2018-07-22 | 343.7 | 339.6 | 16:00
2018-07-22 | 343.7 | 339.6 | 16:00 | 339.9 | 23:00
2018-07-22 | 343.7 | 339.6 | 16:00 | 339.9 | 23:00 | 336.4 | 23:00
2018-07-23 | 343.42 | 334 | 22:00
2018-07-23 | 343.42 | 334 | 22:00 | 333.8 | 22:00
2018-07-23 | 343.42 | 334 | 22:00 | 333.8 | 22:00 | 335.1 | 22:00
2018-07-24 | 344.06 | 334 | 23:00
2018-07-24 | 344.06 | 334 | 23:00 |  |  | 343.3 | 16:00
2018-07-24 | 344.06 | 334 | 23:00 |  |  | 343.3 | 16:00
2018-07-25 | 346.49 | 340 | 23:00
2018-07-25 | 346.49 | 340 | 23:00 | 338.1 | 20:00
2018-07-25 | 346.49 | 340 | 23:00 | 338.1 | 20:00 | 341.8 | 15:00
2018-07-26 | 346.3 | 347.6 | 5:00
2018-07-26 | 346.3 | 347.6 | 5:00 | 338.7 | 17:00
2018-07-26 | 346.3 | 347.6 | 5:00 | 338.7 | 17:00 | 342.3 | 23:00
2018-07-27 | 345.8 | 342.6 | 22:00
2018-07-27 | 345.8 | 342.6 | 22:00 | 339 | 23:00
2018-07-27 | 345.8 | 342.6 | 22:00 | 339 | 23:00 | 339.1 | 23:00
2018-07-28 | 346 | 345.8 | 9:00
2018-07-28 | 346 | 345.8 | 9:00 | 334 | 23:00
2018-07-28 | 346 | 345.8 | 9:00 | 334 | 23:00 | 336 | 17:00
2018-07-29 | 343.3 | 334.5 | 23:00
2018-07-29 | 343.3 | 334.5 | 23:00 | 332 | 0:00
2018-07-29 | 343.3 | 334.5 | 23:00 | 332 | 0:00 | 335 | 0:00
2018-07-30 | 342.2 | 342.2 | 5:00
2018-07-30 | 342.2 | 342.2 | 5:00 |  |  | 334 | 23:00
2018-07-30 | 342.2 | 342.2 | 5:00 |  |  | 334 | 23:00
2018-07-30 | 342.2 | 342.2 | 5:00
2018-07-30 | 342.2 | 342.2 | 5:00 | 336 | 23:00
2018-07-30 | 342.2 | 342.2 | 5:00 | 336 | 23:00 | 334 | 23:00
2018-07-30 | 341.9 | 341.9 | 5:00
2018-07-31 | 341.9 | 341.9 | 5:00
2018-07-31 | 341.9 | 341.9 | 5:00 | 341.9 | 5:00
2018-07-31 | 341.9 | 341.9 | 5:00 | 341.9 | 5:00 | 331 | 0:00
2018-08-01 | 340.5 | 340.5 | 5:00
2018-08-01 | 340.5 | 340.5 | 5:00 |  |  | 340.3 | 2:00
2018-08-01 | 340.5 | 340.5 | 5:00 |  |  | 340.3 | 2:00
2018-08-02 | 340.93 | 332 | 23:00
2018-08-02 | 340.93 | 332 | 23:00 | 332.45 | 22:00
2018-08-02 | 340.93 | 332 | 23:00 | 332.45 | 22:00 | 333 | 22:00
2018-08-03 | 342.54 | 330 | 23:00
2018-08-03 | 342.54 | 330 | 23:00 | 324.4 | 23:00
2018-08-03 | 342.54 | 330 | 23:00 | 324.4 | 23:00 | 349.55 | 20:00
2018-08-04 | 342.3 | 342.3 | 5:00
2018-08-04 | 342.3 | 342.3 | 5:00 | 340.2 | 15:00
2018-08-04 | 342.3 | 342.3 | 5:00 | 340.2 | 15:00 | 340.3 | 14:00
2018-08-05 | 340.8 | 340.8 | 5:00
2018-08-05 | 340.8 | 340.8 | 5:00 | 337 | 23:00
2018-08-05 | 340.8 | 340.8 | 5:00 | 337 | 23:00 | 339.5 | 14:00
2018-08-06 | 341.8 | 340.7 | 18:00
2018-08-06 | 341.8 | 340.7 | 18:00 | 339 | 22:00
2018-08-06 | 341.8 | 340.7 | 18:00 | 339 | 22:00 | 336.2 | 0:00
2018-08-07 | 342.7 | 339.8 | 15:00
2018-08-07 | 342.7 | 339.8 | 15:00 | 332 | 20:00
2018-08-07 | 342.7 | 339.8 | 15:00 | 332 | 20:00 | 332 | 23:00
2018-08-08 | 342.2 | 336.6 | 21:00
2018-08-08 | 342.2 | 336.6 | 21:00 | 342.1 | 15:00
2018-08-08 | 342.2 | 336.6 | 21:00 | 342.1 | 15:00 | 334 | 23:00
2018-08-09 | 342.3 | 342.3 | 5:00
2018-08-09 | 342.3 | 342.3 | 5:00 | 343.8 | 5:00
2018-08-09 | 342.3 | 342.3 | 5:00 | 343.8 | 5:00 | 337 | 17:00
2018-08-10 | 340.9 | 340.9 | 5:00
2018-08-10 | 340.9 | 340.9 | 5:00 | 340.4 | 12:00
2018-08-10 | 340.9 | 340.9 | 5:00 | 340.4 | 12:00 | 334.9 | 22:00
2018-08-11 | 341.47 | 332 | 20:00
2018-08-11 | 341.47 | 332 | 20:00 | 329.4 | 22:00 | 329.4 | 22:00
2018-08-12 | 337.72 | 333 | 23:00
2018-08-12 | 337.72 | 333 | 23:00 | 334.9 | 21:00 | 334.9 | 21:00
2018-08-12 | 337.72 | 333 | 23:00 | 334.9 | 21:00 | 334.9 | 21:00
2018-08-13 | 338.59 | 332 | 23:00
2018-08-13 | 338.59 | 332 | 23:00 | 327 | 23:00
2018-08-13 | 338.59 | 332 | 23:00 | 327 | 23:00 | 331.38 | 22:00
2018-08-13 | 338.59 | 332 | 23:00 | 327 | 23:00 | 331.38 | 22:00
2018-08-14 | 339.41 | 339.4 | 5:00
2018-08-14 | 339.41 | 339.4 | 5:00 | 335 | 23:00
2018-08-15 | 341.52 | 341.5 | 5:00
2018-08-15 | 341.52 | 341.5 | 5:00 | 338 | 12:00
2018-08-15 | 341.52 | 341.5 | 5:00 | 338 | 12:00 | 340.9 | 17:00
2018-08-16 | 339.06 | 337.24 | 22:00
2018-08-16 | 339.06 | 337.24 | 22:00 |  |  | 330.3 | 23:00
2018-08-16 | 339.06 | 337.24 | 22:00 | 330.3 | 23:00 | 330.3 | 23:00
2018-08-17 | 339.49 | 339 | 12:00
2018-08-17 | 339.49 | 339 | 12:00 | 335.5 | 14:00
2018-08-17 | 339.49 | 339 | 12:00 | 335.5 | 14:00 | 333 | 20:00
2018-08-18 | 336.31 | 336.3 | 5:00
2018-08-18 | 336.31 | 336.3 | 5:00 | 332.8 | 22:00
2018-08-19 | 339.8 | 339.8 | 5:00
2018-08-19 | 339.8 | 339.8 | 5:00 | 339.7 | 5:00
2018-08-20 | 337.9 | 333.5 | 12:00
2018-08-20 | 337.9 | 333.5 | 12:00 | 333.72 | 14:00
2018-08-20 | 337.9 | 333.5 | 12:00 | 333.72 | 14:00 | 328.9 | 21:00
2018-08-21 | 336 | 313.5 | 22:00
2018-08-21 | 336 | 313.5 | 22:00 | 326 | 22:00
2018-08-21 | 336 | 313.5 | 22:00 | 326 | 22:00 | 321.6 | 23:00
2018-08-22 | 337.9 | 339.3 | 5:00
2018-08-22 | 337.9 | 337.9 | 5:00 | 337.9 | 5:00
2018-08-22 | 337.9 | 337.9 | 5:00 | 337.9 | 5:00 | 336.88 | 22:00
2018-08-23 | 339.29 | 336.8 | 1:00
2018-08-23 | 339.29 | 336.8 | 1:00 | 329 | 0:00
2018-08-24 | 343.03 | 339.1 | 17:00
2018-08-24 | 343.03 | 339.1 | 17:00 | 342.6 | 22:00
2018-08-24 | 343.03 | 339.1 | 17:00 | 342.6 | 22:00 | 339 | 16:00
2018-08-25 | 343.03 | 341.07 | 20:00
2018-08-25 | 343.03 | 341.07 | 20:00 | 339.3 | 22:00
2018-08-25 | 343.03 | 341.07 | 20:00 | 339.3 | 22:00 | 339.8 | 21:00
2018-08-26 | 343.03 | 339.78 | 21:00
2018-08-26 | 343.03 | 339.78 | 21:00 | 346 | 12:00
2018-08-26 | 343.03 | 339.78 | 21:00 | 346 | 12:00 | 346.3 | 12:00
2018-08-27 | 348.57 | 342.6 | 0:00 | 342.6 | 0:00
2018-08-27 | 345.89 | 342.6 | 0:00 | 342.6 | 0:00
2018-08-27 | 345.89 | 342.6 | 0:00 | 342.6 | 0:00 | 344.1 | 22:00
2018-08-28 | 345.8 | 343 | 23:00
2018-08-28 | 345.8 | 343 | 23:00 | 340.5 | 23:00
2018-08-28 | 345.8 | 343 | 23:00 | 340.5 | 23:00 | 343.5 | 22:00
2018-08-29 | 345.5 | 345.5 | 5:00
2018-08-29 | 345.5 | 345.5 | 5:00 | 342.3 | 13:00
2018-08-30 | 345.4 | 340.2 | 22:00
2018-08-30 | 345.4 | 340.2 | 22:00 | 340.05 | 22:00
2018-08-30 | 345.4 | 340.2 | 22:00 | 340.05 | 22:00 | 340.4 | 15:00
2018-08-31 | 347.3 | 344.6 | 9:00
2018-08-31 | 347.3 | 344.6 | 9:00 | 341 | 22:00
2018-08-31 | 347.3 | 344.6 | 9:00 | 341 | 22:00 | 337.7 | 14:00
2018-09-01 | 343.35 | 341.8 | 10:00
2018-09-01 | 343.35 | 341.8 | 10:00
2018-09-01 | 343.35 | 341.8 | 10:00 | 344 | 23:00
2018-09-01 | 343.35 | 341.8 | 10:00 | 344 | 23:00 | 343.6 | 23:00
2018-09-02 | 343.98 | 342.6 | 21:00
2018-09-02 | 343.98 | 342.6 | 21:00 | 344.4 | 5:00
2018-09-02 | 343.98 | 342.6 | 21:00 | 344.4 | 5:00 | 344.4 | 5:00
2018-09-03 | 343.82 | 343.8 | 5:00
2018-09-03 | 343.82 | 343.8 | 5:00 | 331.3 | 4:00
2018-09-04 | 343.1 | 320 | 23:00
2018-09-04 | 343.1 | 320 | 23:00 | 328.9 | 21:00
2018-09-04 | 343.1 | 320 | 23:00 | 328.9 | 21:00 | 333.5 | 15:00
2018-09-05 | 342.79 | 331 | 23:00
2018-09-05 | 342.79 | 331 | 23:00 | 334.5 | 23:00
2018-09-05 | 342.79 | 331 | 23:00 | 334.5 | 23:00 | 336.8 | 21:00
2018-09-06 | 341.95 | 328.8 | 22:00
2018-09-06 | 341.95 | 328.8 | 22:00 | 326.6 | 21:00
2018-09-06 | 341.95 | 328.8 | 22:00 | 326.6 | 21:00 | 327 | 21:00
2018-09-07 | 342.7 | 327 | 21:00
2018-09-07 | 342.7 | 327 | 21:00 | 328 | 23:00
2018-09-07 | 342.7 | 327 | 21:00 | 328 | 23:00 | 328.42 | 22:00
2018-09-08 | 340.2 | 338.4 | 22:00
2018-09-08 | 340.2 | 338.4 | 22:00 | 336 | 15:00
2018-09-08 | 340.2 | 338.4 | 22:00 | 336 | 15:00 | 332 | 0:00
2018-09-09 | 342 | 342.9 | 6:00
2018-09-09 | 342 | 342 | 5:00 | 342 | 5:00
2018-09-09 | 342 | 342 | 5:00 | 342 | 5:00 | 342 | 5:00
2018-09-10 | 342.2 | 335.9 | 21:00
2018-09-10 | 342.2 | 335.9 | 21:00 | 331.3 | 20:00
2018-09-10 | 342.2 | 335.9 | 21:00 | 331.3 | 21:00 | 329 | 20:00
2018-09-11 | 339.99 | 337.4 | 19:00
2018-09-11 | 339.99 | 337.4 | 19:00 | 335 | 18:00
2018-09-11 | 339.99 | 337.4 | 19:00 | 335 | 18:00 | 332 | 19:00
2018-09-12 | 338.47 | 332.1 | 21:00
2018-09-12 | 338.47 | 332.1 | 21:00 | 331 | 19:00
2018-09-12 | 338.47 | 332.1 | 21:00 | 331 | 19:00 | 329.6 | 20:00
2018-09-13 | 339.76 | 324 | 21:00
2018-09-13 | 339.76 | 324 | 21:00 | 332 | 16:00
2018-09-13 | 339.76 | 324 | 21:00 | 332 | 16:00 | 330.8 | 17:00
2018-09-14 | 338.01 | 330 | 14:00
2018-09-14 | 338.01 | 330 | 14:00 | 328 | 14:00
2018-09-14 | 338.01 | 330 | 14:00 | 328 | 14:00 | 330.9 | 13:00
2018-09-15 | 338.81 | 338.8 | 5:00
2018-09-15 | 338.81 | 338.8 | 5:00 | 333.9 | 23:00
2018-09-15 | 338.81 | 338.8 | 5:00 | 333.9 | 23:00 | 334.1 | 15:00
2018-09-16 | 337.7 |  |  | 337.6 | 4:00
2018-09-16 | 337.7 | 337.6 | 4:00 | 337.6 | 4:00
2018-09-16 | 337.7 | 337.6 | 4:00 | 337.6 | 4:00 | 337.7 | 5:00
2018-09-17 | 336.9 | 336.2 | 10:00
2018-09-17 | 336.9 | 336.2 | 10:00 | 333 | 12:00
2018-09-17 | 336.9 | 336.2 | 10:00 | 333 | 12:00 | 339.61 | 21:00
2018-09-18 | 338.8 | 334.3 | 18:00
2018-09-18 | 338.8 | 334.3 | 18:00 | 331 | 15:00
2018-09-18 | 338.8 | 334.3 | 18:00 | 331 | 15:00 | 330.1 | 15:00
2018-09-19 | 339.02 | 332.7 | 17:00
2018-09-19 | 339.02 | 332.7 | 17:00 | 339.4 | 22:00
2018-09-19 | 339.02 | 332.7 | 17:00 | 339.4 | 22:00 | 328 | 1:00
2018-09-20 | 336.6 | 327.2 | 23:00
2018-09-20 | 336.6 | 327.2 | 23:00 | 328.8 | 22:00
2018-09-21 | 338.2 | 338.2 | 5:00
2018-09-21 | 338.2 | 338.2 | 5:00 | 338.4 | 22:00
2018-09-22 | 336.6 | 336.6 | 5:00
2018-09-22 | 336.6 | 336.6 | 5:00 | 331.8 | 13:00
2018-09-22 | 336.6 | 336.6 | 5:00 | 331.8 | 13:00 | 329.2 | 23:00
2018-09-23 | 337.9 | 336 | 10:00
2018-09-23 | 337.9 | 336 | 10:00 | 332.6 | 12:00
2018-09-23 | 337.9 | 336 | 10:00 | 332.6 | 12:00 | 332.6 | 12:00
2018-09-24 | 338.14 | 321 | 23:00
2018-09-24 | 338.14 | 321 | 23:00 | 326.7 | 11:00
2018-09-24 | 338.14 | 321 | 23:00 | 326.7 | 11:00 | 326.7 | 11:00
2018-09-25 | 338.86 | 336.5 | 9:00
2018-09-25 | 338.86 | 336.5 | 9:00 | 335 | 9:00
2018-09-25 | 338.86 | 336.5 | 9:00 | 335 | 9:00 | 335 | 9:00
2018-09-26 | 337.1 | 337.1 | 5:00
2018-09-26 | 337.1 | 337.1 | 5:00 | 335 | 12:00
2018-09-26 | 337.1 | 337.1 | 5:00 | 335 | 12:00 | 334.4 | 22:00
2018-09-27 | 337.1 | 335.7 | 22:00
2018-09-27 | 337.1 | 335.7 | 22:00 | 335.8 | 12:00 | 335.8 | 12:00
2018-09-27 | 338.74 | 335.7 | 22:00 | 335.8 | 12:00 | 335.8 | 12:00
2018-09-28 | 338.74 | 329.4 | 22:00
2018-09-28 | 343.72 | 329.4 | 22:00
2018-09-28 | 343.72 | 329.4 | 22:00 | 329 | 21:00
2018-09-28 | 343.72 | 329.4 | 22:00 | 329 | 21:00 | 329 | 14:00
2018-09-29 | 342.42 | 340.7 | 11:00
2018-09-29 | 342.42 | 340.7 | 11:00 | 333.4 | 12:00
2018-09-29 | 342.42 | 340.7 | 11:00 | 333.4 | 12:00 | 333.1 | 14:00
2018-09-30 | 342.24 | 341.1 | 11:00
2018-09-30 | 342.24 | 341.1 | 11:00 | 336.1 | 12:00
2018-09-30 | 342.24 | 341.1 | 11:00 | 336.1 | 12:00 | 336.1 | 12:00
2018-10-01 | 339.2 | 339.2 | 5:00
2018-10-01 | 339.2 | 339.2 | 5:00 | 339.2 | 5:00
2018-10-01 | 339.2 | 339.2 | 5:00 | 339.2 | 5:00 | 326.8 | 22:00
2018-10-02 | 332.9 | 332.9 | 5:00
2018-10-02 | 332.9 | 332.9 | 5:00 | 330.6 | 13:00
2018-10-03 | 338.3 | 325.8 | 22:00
2018-10-03 | 338.3 | 325.8 | 22:00 | 324.4 | 23:00
2018-10-03 | 338.3 | 325.8 | 22:00 | 324.4 | 23:00 | 324.6 | 22:00
2018-10-04 | 337 | 334 | 23:00
2018-10-04 | 337 | 334 | 23:00 | 335.4 | 11:00
2018-10-04 | 337 | 334 | 23:00 | 335.4 | 11:00 | 333.8 | 21:00
2018-10-05 | 344.24 | 333.6 | 23:00
2018-10-05 | 344.24 | 333.6 | 23:00 | 337.4 | 22:00
2018-10-05 | 344.24 | 333.6 | 23:00 | 337.4 | 22:00 | 333.8 | 22:00
2018-10-06 | 344.24 | 344.9
2018-10-06 | 344.24 | 344.9 | 10:00 | 343.62 | 14:00
2018-10-06 | 344.24 | 344.9 | 10:00 | 343.62 | 14:00 | 337.9 | 21:00
2018-10-07 | 346.5 | 346.54 | 5:00
2018-10-07 | 346.5 | 346.54 | 5:00 | 347.62 | 5:00
2018-10-07 | 346.5 | 346.54 | 5:00 | 347.62 | 5:00 | 332 | 23:00
2018-10-08 | 344.11 | 338 | 22:00
2018-10-08 | 344.11 | 338 | 22:00 | 339 | 21:00
2018-10-09 | 344.11 | 334.7 | 21:00
2018-10-09 | 344.11 | 334.7 | 21:00 | 321.7 | 22:00
2018-10-09 | 344.11 | 334.7 | 21:00 | 321.7 | 22:00 | 331 | 14:00
2018-10-10 | 347.04 | 336.5 | 22:00
2018-10-10 | 347.04 | 336.5 | 22:00 | 333.8 | 20:00
2018-10-10 | 347.04 | 336.5 | 22:00 | 333.8 | 20:00 | 334.6 | 20:00
2018-10-11 | 346.5 | 343.5 | 22:00
2018-10-11 | 346.5 | 343.5 | 22:00 | 341.2 | 23:00
2018-10-11 | 346.5 | 343.5 | 22:00 | 341.2 | 23:00 | 335.6 | 23:00
2018-10-12 | 343.4 | 340.6 | 15:00
2018-10-12 | 343.4 | 340.6 | 15:00 | 340.6 | 15:00
2018-10-12 | 343.4 | 340.6 | 15:00 | 340.6 | 15:00 | 323.7 | 22:00
2018-10-13 | 340.42 | 325.4 | 21:00
2018-10-13 | 340.42 | 325.4 | 21:00 | 335.9 | 22:00
2018-10-13 | 340.42 | 325.4 | 21:00 | 335.9 | 22:00 | 338.5 | 20:00
2018-10-14 | 345.07 | 329.24 | 23:00
2018-10-14 | 345.07 | 329.24 | 23:00 | 337.1 | 21:00
2018-10-14 | 345.07 | 329.24 | 23:00 | 337.1 | 21:00 | 342.1 | 21:00
2018-10-15 | 345.14 | 318.9 | 23:00
2018-10-15 | 345.14 | 318.9 | 23:00 | 331.5 | 20:00
2018-10-15 | 345.14 | 318.9 | 23:00 | 331.5 | 20:00 | 331.5 | 20:00
2018-10-16 | 343.7 | 340.8 | 12:00
2018-10-16 | 343.7 | 340.8 | 12:00 | 339.3 | 18:00
2018-10-16 | 343.7 | 340.8 | 12:00 | 339.3 | 18:00 | 333.6 | 21:00
2018-10-17 | 345.53 | 345.5 | 5:00
2018-10-17 | 345.53 | 345.5 | 5:00 | 345.5 | 5:00
2018-10-17 | 345.53 | 345.5 | 5:00 | 345.5 | 5:00 | 345.5 | 22:00
2018-10-18 | 345.06 | 334.7 | 22:00
2018-10-18 | 345.06 | 334.7 | 22:00 | 336.13 | 19:00
2018-10-18 | 345.06 | 334.7 | 22:00 | 336.13 | 19:00 | 337.5 | 16:00
2018-10-19 | 347.01 | 341.8 | 21:00
2018-10-19 | 347.01 | 341.8 | 21:00 | 337 | 20:00
2018-10-19 | 347.01 | 341.8 | 21:00 | 337 | 20:00 | 335.1 | 22:00
2018-10-20 | 346.32 | 344.42 | 10:00
2018-10-20 | 346.32 | 344.42 | 10:00 | 340 | 12:00
2018-10-20 | 346.32 | 344.42 | 10:00 | 340 | 12:00 | 340 | 13:00
2018-10-21 | 347.83 | 349.5 | 5:00
2018-10-21 | 347.83 | 347.83 | 5:00 | 347.8 | 5:00
2018-10-21 | 347.83 | 347.83 | 5:00 | 347.8 | 5:00 | 347.8 | 5:00
2018-10-22 | 363.08 | 357.2 | 20:00
2018-10-22 | 363.08 | 357.2 | 20:00 | 357.7 | 21:00
2018-10-22 | 363.08 | 357.2 | 20:00 | 357.7 | 21:00 | 348.8 | 23:00
2018-10-23 | 354.7 | 354.7 | 5:00
2018-10-23 | 354.7 | 354.7 | 5:00 | 354.3 | 21:00
2018-10-23 | 354.7 | 354.7 | 5:00 | 354.3 | 21:00 | 350 | 22:00
2018-10-24 | 352.71 | 334.1 | 23:00
2018-10-24 | 352.71 | 334.1 | 23:00 | 335.2 | 22:00
2018-10-24 | 352.71 | 334.1 | 23:00 | 335.2 | 22:00 | 340.3 | 20:00
2018-10-25 | 359.14 | 357.1 | 22:00
2018-10-25 | 359.14 | 357.1 | 22:00 | 349.9 | 22:00
2018-10-25 | 359.14 | 357.1 | 22:00 | 349.9 | 22:00 | 348.4 | 22:00
2018-10-26 | 357.17 | 343.5 | 22:00
2018-10-26 | 357.17 | 343.5 | 22:00 | 346.8 | 21:00
2018-10-26 | 357.17 | 343.5 | 22:00 | 346.8 | 21:00 | 347.9 | 20:00
2018-10-27 | 356.1 | 350.4 | 20:00
2018-10-27 | 356.1 | 350.4 | 20:00 | 340.7 | 21:00
2018-10-27 | 356.1 | 350.4 | 20:00 | 340.7 | 21:00 | 339.9 | 21:00
2018-10-27 | 352.3 | 343.4 | 22:00
2018-10-28 | 352.3 | 343.4 | 22:00
2018-10-28 | 352.3 | 343.4 | 22:00 | 339 | 22:00
2018-10-28 | 352.3 | 343.4 | 22:00 | 339 | 22:00 | 340 | 22:00
2018-10-29 | 353.1 | 351.7 | 21:00
2018-10-29 | 353.1 | 351.7 | 21:00 |  |  | 342 | 22:00
2018-10-29 | 353.1 | 351.7 | 21:00 | 342 | 22:00 | 342 | 22:00
2018-10-30 | 353.1 | 337.7 | 20:00
2018-10-30 | 353.1 | 337.7 | 20:00 | 331.7 | 21:00
2018-10-30 | 353.1 | 337.7 | 20:00 | 331.7 | 21:00 | 327.5 | 22:00
2018-10-31 | 353.1 | 332.8 | 21:00
2018-10-31 | 353.1 | 332.8 | 21:00 | 327.9 | 22:00
2018-10-31 | 353.1 | 332.8 | 21:00 | 327.9 | 22:00 | 330.4 | 22:00
2018-11-01 | 350.6 | 319.9 | 23:00
2018-11-01 | 350.6 | 319.9 | 23:00
2018-11-01 | 350.6 | 319.9 | 23:00 | 334.1 | 21:00
2018-11-01 | 350.6 | 319.9 | 23:00 | 334.1 | 21:00 | 337 | 22:00
2018-11-01 | 350.6 | 319.9 | 23:00 | 334.1 | 21:00 | 337 | 22:00
2018-11-02 | 352.48 | 344 | 22:00
2018-11-02 | 352.48 | 344 | 22:00 | 341.5 | 21:00
2018-11-02 | 352.48 | 344 | 22:00 | 341.5 | 21:00 | 334.7 | 20:00
2018-11-03 | 346.9 | 345 | 21:00
2018-11-03 | 346.9 | 345 | 21:00 | 342 | 21:00
2018-11-03 | 346.9 | 345 | 21:00 | 342 | 21:00 | 337 | 21:00
2018-11-04 | 345 | 345 | 5:00
2018-11-04 | 345 | 345 | 5:00 | 342.8 | 21:00
2018-11-04 | 345 | 345 | 5:00 | 342.8 | 21:00 | 335 | 23:00
2018-11-05 | 346.27 | 340 | 21:00
2018-11-05 | 346.27 | 340 | 21:00 | 332.8 | 22:00
2018-11-05 | 346.27 | 340 | 21:00 | 332.8 | 22:00 | 332.4 | 20:00
2018-11-06 | 343.65 | 328.6 | 22:00
2018-11-06 | 343.65 | 328.6 | 22:00 | 329.9 | 21:00
2018-11-06 | 343.65 | 328.6 | 22:00 | 329.9 | 21:00 | 328.4 | 21:00
2018-11-07 | 342.75 | 329.2 | 20:00
2018-11-07 | 342.75 | 329.2 | 20:00 | 335 | 21:00
2018-11-07 | 342.75 | 329.2 | 20:00 | 335 | 21:00 | 332.7 | 22:00
2018-11-08 | 342.75 | 338.2 | 21:00
2018-11-08 | 342.75 | 338.2 | 21:00 | 335 | 21:00
2018-11-08 | 342.75 | 338.2 | 21:00 | 335 | 21:00
2018-11-08 | 342.75 | 338.2 | 21:00 | 335 | 21:00 | 332.3 | 22:00
2018-11-09 | 342.75 | 330.3 | 23:00
2018-11-09 | 342.75 | 330.3 | 23:00 | 333.2 | 22:00
2018-11-09 | 342.75 | 330.3 | 23:00 | 333.2 | 22:00 | 331 | 22:00
2018-11-10 | 345.2 | 341.2 | 21:00
2018-11-10 | 345.2 | 341.2 | 21:00 | 341.8 | 21:00
2018-11-11 | 349 | 337.5 | 20:00
2018-11-11 | 349 | 337.5 | 20:00 | 342.3 | 21:00
2018-11-11 | 349 | 337.5 | 20:00 | 342.3 | 21:00 | 346.3 | 21:00
2018-11-12 | 349.2 | 346 | 22:00
2018-11-12 | 349.2 | 346 | 22:00 | 346.5 | 21:00
2018-11-12 | 349.2 | 346 | 22:00 | 346.5 | 21:00 | 343.3 | 22:00
2018-11-13 | 352.1 | 345.3 | 20:00
2018-11-13 | 352.1 | 345.3 | 20:00 | 345.26 | 20:00
2018-11-13 | 352.1 | 345.3 | 20:00 | 346.6 | 20:00
2018-11-13 | 352.1 | 345.3 | 20:00 | 346.6 | 20:00 | 340.2 | 22:00
2018-11-14 | 351.6 | 351.6 | 5:00
2018-11-14 | 351.6 | 351.6 | 5:00 | 349.9 | 20:00
2018-11-14 | 351.6 | 351.6 | 5:00 | 349.9 | 20:00 | 347.28 | 21:00
2018-11-15 | 353.45 | 340 | 22:00
2018-11-15 | 353.45 | 340 | 22:00 | 338 | 22:00
2018-11-15 | 353.45 | 340 | 22:00 | 338 | 22:00 | 338 | 22:00
2018-11-15 | 353.45 | 340 | 22:00 | 338 | 22:00 | 338 | 22:00
2018-11-16 | 352.99 | 0.20833 | 8469:36
2018-11-16 | 352.99 | 352.9 | 5:00
2018-11-16 | 352.99 | 352.9 | 5:00 | 350.2 | 19:00
2018-11-16 | 352.99 | 352.9 | 5:00 | 350.2 | 19:00 | 343.4 | 22:00
2018-11-17 | 352.99 | 351.34 | 5:00
2018-11-17 | 352.99 | 351.34 | 5:00 | 351.3 | 5:00
2018-11-17 | 352.99 | 351.34 | 5:00 | 351.3 | 5:00 | 353.2 | 19:00
2018-11-18 | 357.5 | 357.1 | 21:00
2018-11-18 | 357.5 | 357.1 | 21:00 | 352.23 | 21:00
2018-11-18 | 357.5 | 357.1 | 21:00 | 352.23 | 21:00 | 349.5 | 21:00
2018-11-19 | 359.6 | 357.9 | 9:00
2018-11-19 | 359.6 | 357.9 | 9:00 | 349.4 | 21:00
2018-11-19 | 359.6 | 357.9 | 9:00 | 349.4 | 21:00 | 343.9 | 21:00
2018-11-20 | 358 | 345 | 21:00
2018-11-20 | 358 | 345 | 21:00 | 345.4 | 22:00
2018-11-21 | 357.2 | 344.8 | 22:00
2018-11-21 | 357.2 | 344.8 | 22:00 | 352.3 | 21:00
2018-11-21 | 357.2 | 344.8 | 22:00 | 352.3 | 21:00 | 347 | 22:00
2018-11-22 | 355.6 | 349.5 | 21:00
2018-11-22 | 355.6 | 349.5 | 21:00 | 349 | 21:00
2018-11-22 | 355.6 | 349.5 | 21:00 | 349 | 21:00 | 340.7 | 22:00
2018-11-23 | 356.9 | 334.8 | 21:00
2018-11-23 | 356.9 | 334.8 | 21:00 | 340.4 | 21:00
2018-11-23 | 356.9 | 334.8 | 21:00 | 340.4 | 21:00 | 344.2 | 21:00
2018-11-24 | 356.39 | 348.7 | 22:00
2018-11-24 | 356.39 | 348.7 | 22:00 | 349.2 | 21:00
2018-11-25 | 358.9 | 358.1 | 5:00
2018-11-25 | 358.9 | 358.1 | 5:00 | 358.1 | 120:00
2018-11-25 | 358.9 | 358.1 | 5:00 | 358.1 | 5:00
2018-11-25 | 358.9 | 358.1 | 5:00 | 358.1 | 5:00 | 352.7 | 22:00
2018-11-26 | 359.38 | 357 | 20:00
2018-11-26 | 359.38 | 357 | 20:00 | 345.6 | 19:00
2018-11-26 | 359.38 | 357 | 20:00 | 345.6 | 19:00 | 345.6 | 20:00
2018-11-27 | 357.42 | 342 | 21:00
2018-11-27 | 357.42 | 342 | 21:00 | 342.6 | 20:00
2018-11-27 | 357.42 | 342 | 21:00 | 342.6 | 20:00 | 338.2 | 21:00
2018-11-28 | 357.01 | 350 | 21:00
2018-11-28 | 357.01 | 350 | 21:00 | 347.5 | 21:00
2018-11-28 | 357.01 | 350 | 21:00 | 347.5 | 21:00 | 347.4 | 20:00
2018-11-29 | 358.1 | 344.1 | 21:00
2018-11-29 | 358.1 | 344.1 | 21:00 | 341.1 | 23:00
2018-11-29 | 358.1 | 344.1 | 21:00 | 341.1 | 23:00 | 340.7 | 21:00
2018-11-30 | 357.8 | 358.1 | 20:00
2018-11-30 | 357.8 | 358.1 | 20:00 | 355 | 21:00
2018-11-30 | 357.8 | 357.8 | 5:00 | 355 | 21:00 | 351.3 | 22:00
2018-12-01 | 355.8 | 300.5 | 20:00
2018-12-01 | 355.8 | 330 | 20:00 | 331 | 23:00
2018-12-01 | 355.8 | 330 | 20:00 | 331 | 23:00 | 331 | 21:00
2018-12-02 | 358.68 | 358 | 5:00
2018-12-02 | 358.68 | 358 | 5:00 | 352 | 21:00
2018-12-02 | 358.68 | 358 | 5:00 | 352 | 21:00 | 353 | 21:00
2018-12-03 | 362.98 | 351.6 | 21:00
2018-12-03 | 362.98 | 351.6 | 21:00 | 340.5 | 21:00
2018-12-03 | 362.98 | 351.6 | 21:00 | 340.5 | 21:00 | 346 | 22:00
2018-12-04 | 359.81 | 353.5 | 22:00
2018-12-04 | 359.81 | 353.5 | 22:00 | 340.2 | 21:00
2018-12-04 | 359.81 | 353.5 | 22:00 | 340.2 | 21:00 | 341 | 22:00
2018-12-05 | 356.01 | 323 | 22:00
2018-12-05 | 356.01 | 323 | 22:00 | 331 | 20:00
2018-12-05 | 356.01 | 323 | 22:00 | 331 | 20:00 | 327.4 | 20:00
2018-12-06 | 356.15 | 306 | 23:00
2018-12-06 | 356.15 | 306 | 23:00 | 339.6 | 21:00
2018-12-06 | 356.15 | 306 | 23:00 | 339.6 | 21:00 | 340.89 | 20:00
2018-12-07 | 357.55 | 344 | 22:00
2018-12-07 | 357.55 | 344 | 22:00 | 343.7 | 22:00
2018-12-07 | 357.55 | 344 | 22:00 | 343.7 | 22:00 | 347.8 | 20:00
2018-12-08 | 352.3 | 352.3 | 5:00
2018-12-08 | 352.3 | 352.3 | 5:00 | 341.5 | 22:00
2018-12-08 | 352.3 | 352.3 | 5:00 | 341.5 | 22:00 | 340.3 | 22:00
2018-12-09 | 354.3 | 340.5 | 22:00
2018-12-09 | 354.3 | 340.5 | 22:00 | 345 | 22:00
2018-12-09 | 354.3 | 340.5 | 22:00 | 345 | 22:00 | 345.8 | 21:00
2018-12-10 | 355.6 | 331 | 21:00
2018-12-10 | 355.6 | 331 | 21:00 | 331 | 21:00
2018-12-10 | 355.6 | 331 | 21:00 | 331 | 21:00 | 329.4 | 20:00
2018-12-11 | 355.2 | 342.5 | 21:00
2018-12-11 | 355.2 | 342.5 | 21:00 | 345 | 21:00
2018-12-11 | 355.2 | 342.5 | 21:00 | 345 | 21:00 | 343.3 | 283:12
2018-12-12 | 357.86 | 347 | 20:00
2018-12-12 | 357.86 | 347 | 20:00 | 343.3 | 20:00
2018-12-12 | 357.86 | 347 | 20:00 | 343.3 | 20:00 | 341 | 21:00
2018-12-13 | 356.43 |  |  | 356.4 | 5:00
2018-12-13 | 356.43 | 356.4 | 5:00
2018-12-13 | 356.43 | 356.4 | 5:00 | 356.4 | 5:00
2018-12-13 | 356.43 | 356.4 | 5:00 | 356.4 | 5:00 | 338 | 22:00
2018-12-14 | 359.09 | 341.8 | 20:00
2018-12-14 | 359.09 | 341.8 | 20:00 | 340.7 | 20:00
2018-12-14 | 359.09 | 341.8 | 20:00 | 340.7 | 20:00 | 337.8 | 21:00
2018-12-15 | 359.96 | 354 | 22:00
2018-12-15 | 359.96 | 354 | 22:00 | 354.1 | 21:00
2018-12-15 | 359.96 | 354 | 22:00 | 354.1 | 21:00 | 339.9 | 21:00
2018-12-16 | 354.28 | 354.28 | 5:00
2018-12-16 | 354.28 | 354.28 | 5:00 | 353.6 | 20:00
2018-12-16 | 354.28 | 354.28 | 5:00 | 353.6 | 20:00 | 347.2 | 21:00
2018-12-17 | 355.51 | 339 | 21:00
2018-12-17 | 355.51 | 339 | 21:00 | 333.2 | 21:00
2018-12-17 | 355.51 | 339 | 21:00 | 333.2 | 21:00 | 331 | 20:00
2018-12-18 | 350.73 | 329.2 | 22:00
2018-12-18 | 350.73 | 329.2 | 22:00 | 348.7 | 11:00
2018-12-18 | 350.73 | 329.2 | 22:00 | 348.7 | 11:00 | 343 | 21:00
2018-12-19 | 353.32 | 339.1 | 22:00
2018-12-19 | 353.32 | 339.1 | 22:00 | 335.1 | 21:00
2018-12-19 | 353.32 | 339.1 | 22:00 | 335.1 | 21:00 | 335.5 | 22:00
2018-12-20 | 354.11 | 326.6 | 22:00
2018-12-20 | 354.11 | 326.6 | 22:00 | 339 | 22:00
2018-12-20 | 354.11 | 326.6 | 22:00 | 339 | 22:00 | 339.2 | 22:00
2018-12-21 | 352.49 | 344 | 9:00
2018-12-21 | 352.49 | 344 | 9:00 | 343.1 | 21:00
2018-12-21 | 352.49 | 344 | 9:00 | 343.1 | 21:00 | 340 | 22:00
2018-12-22 | 355.6 | 344.8 | 22:00
2018-12-22 | 355.6 | 344.8 | 22:00 | 344.4 | 22:00
2018-12-22 | 355.6 | 344.8 | 22:00 | 344.4 | 22:00 | 346.4 | 22:00
2018-12-23 | 355.2 | 333.5 | 22:00
2018-12-23 | 355.2 | 333.5 | 22:00 | 334.7 | 22:00
2018-12-23 | 355.2 | 333.5 | 22:00 | 334.7 | 22:00 | 334.3 | 22:00
2018-12-24 | 353.97 | 329.4 | 22:00
2018-12-24 | 353.97 | 329.4 | 22:00 | 330.5 | 21:00
2018-12-24 | 353.97 | 329.4 | 22:00 | 330.5 | 21:00 | 336.8 | 21:00
2018-12-25 | 355.1 | 355.5 | 19:00
2018-12-25 | 355.1 | 355.5 | 19:00 | 344 | 20:00
2018-12-25 | 355.1 | 355.5 | 19:00 | 344 | 20:00 | 342.3 | 21:00
2018-12-26 | 354 | 354 | 5:00
2018-12-27 | 358.65 | 355.7 | 19:00
2018-12-27 | 358.65 | 355.7 | 19:00 | 346.5 | 21:00
2018-12-27 | 358.65 | 355.7 | 19:00 | 346.5 | 21:00 | 351 | 21:00
2018-12-28 | 357.53 | 350.5 | 23:00
2018-12-28 | 357.53 | 350.5 | 23:00 | 344.6 | 21:00
2018-12-28 | 357.53 | 350.5 | 23:00 | 344.6 | 21:00 | 346 | 22:00
2018-12-29 | 360.91 | 360.2 | 5:00
2018-12-29 | 360.91 | 360.9 | 5:00
2018-12-29 | 360.91 | 360.9 | 5:00 | 352.7 | 21:00
2018-12-29 | 360.91 | 360.9 | 5:00 | 352.7 | 21:00 | 351.1 | 22:00
2018-12-30 | 357.54 | 357.5 | 5:00
2018-12-30 | 357.54 | 357.5 | 5:00 | 353.2 | 21:00
2018-12-30 | 357.54 | 357.5 | 5:00 | 353.2 | 21:00 | 348 | 21:00
2018-12-31 | 357.4 | 357.4 | 5:00
2018-12-31 | 357.4 | 357.4 | 5:00 | 355.4 | 20:00
2018-12-31 | 357.4 | 357.4 | 5:00 | 355.4 | 20:00 | 353.8 | 20:00
2019-01-01 | 366 | 366 | 5:00
2019-01-01 | 366 | 366 | 5:00 | 366 | 5:00
2019-01-01 | 366 | 366 | 5:00 | 366 | 5:00 | 368.73 | 22:00
2019-01-01 | 366 | 366 | 5:00 | 366 | 5:00 | 368.73 | 22:00
2019-01-02 | 368.4 | 367.9 | 19:00
2019-01-02 | 368.4 | 367.9 | 19:00 | 359.9 | 22:00
2019-01-02 | 368.4 | 367.9 | 19:00 | 359.9 | 22:00 | 346.7 | 22:00
2019-01-03 | 368.4 | 360.9 | 8:00
2019-01-03 | 360.8 | 360.9 | 8:00 | 359.5 | 18:00
2019-01-03 | 360.8 | 360.9 | 8:00 | 359.5 | 18:00 | 350 | 22:00
2019-01-04 | 360.8 | 344.2 | 21:00
2019-01-04 | 360.8 | 344.2 | 21:00 | 350.9 | 20:00
2019-01-04 | 360.8 | 344.2 | 21:00 | 350.9 | 20:00 | 340.9 | 21:00
2019-01-05 | 359.05 | 348 | 22:00
2019-01-05 | 359.05 | 348 | 22:00 | 353.5 | 21:00
2019-01-05 | 359.05 | 348 | 22:00 | 353.5 | 21:00 | 344.7 | 20:00
2019-01-06 | 359.05 | 347.6 | 21:00
2019-01-06 | 359.05 | 347.6 | 21:00 | 356 | 20:00
2019-01-06 | 359.05 | 347.6 | 21:00 | 356 | 20:00 | 352.8 | 21:00
2019-01-07 | 359.05 | 350.8 | 22:00
2019-01-07 | 359.05 | 350.8 | 22:00 | 345.5 | 21:00
2019-01-07 | 359.05 | 350.8 | 22:00 | 345.5 | 21:00 | 340.2 | 21:00
2019-01-08 | 358.9 | 341.89 | 22:00
2019-01-08 | 358.9 | 341.89 | 22:00 | 343.2 | 21:00
2019-01-08 | 358.9 | 341.89 | 22:00 | 343.2 | 21:00 | 345.9 | 21:00
2019-01-09 | 356.09 |  |  | 339.1 | 22:00
2019-01-09 | 356.09 | 339.1 | 22:00 | 339.1 | 22:00
2019-01-10 | 353.5 | 343.4 | 21:00
2019-01-10 | 353.5 | 343.4 | 21:00 | 339 | 22:00
2019-01-10 | 353.5 | 343.4 | 21:00 | 339 | 22:00 | 336.39 | 21:00
2019-01-11 | 354.7 | 334.4 | 21:00
2019-01-11 | 354.7 | 334.4 | 21:00 | 333 | 22:00
2019-01-11 | 354.7 | 334.4 | 21:00 | 333 | 22:00 | 325.3 | 22:00
2019-01-12 | 354.7 | 332.2 | 21:00
2019-01-12 | 354.7 | 332.2 | 21:00 | 335 | 22:00
2019-01-12 | 354.7 | 332.2 | 21:00 | 335 | 22:00 | 340 | 22:00
2019-01-13 | 354.7 | 354.7 | 21:00
2019-01-13 | 356.53 | 354.7 | 21:00 | 350 | 22:00
2019-01-13 | 356.53 | 354.7 | 21:00 | 350 | 22:00 | 347 | 22:00
2019-01-14 | 359.7 | 360.1 | 19:00
2019-01-14 | 359.7 | 360.1 | 19:00 | 349.5 | 20:00
2019-01-14 | 359.7 | 360.1 | 19:00 | 349.5 | 20:00 | 341 | 22:00
2019-01-15 | 357.31 | 338.9 | 21:00
2019-01-15 | 357.31 | 338.9 | 21:00 | 350.7 | 20:00
2019-01-15 | 357.31 | 338.9 | 21:00 | 350.7 | 20:00 | 340 | 22:00
2019-01-16 | 358.64 | 340.7 | 22:00
2019-01-16 | 358.64 | 340.7 | 22:00 | 354.3 | 20:00
2019-01-16 | 358.64 | 340.7 | 22:00 | 354.3 | 20:00 | 356.4 | 20:00
2019-01-17 | 362.37 | 355 | 22:00
2019-01-17 | 362.37 | 355 | 22:00 | 351.3 | 21:00